Exhibits for Calibration periodicity

# Objective:

The calibration periodicity at SMJ Lab ensures that all equipment used for measurements in our chemical testing processes are accurately calibrated at regular intervals. This is vital for maintaining the reliability of results and ensuring compliance with industry standards under ISO 17025:2017.

# Scope:

This periodicity policy applies to all measuring and testing equipment that may impact the quality of test results. This includes, but is not limited to, balances, thermometers, pH meters, volumetric equipment, spectrophotometers, and chromatographs used in SMJ Lab.

# Calibration Periodicity Criteria:

## Manufacturer’s Recommendation:

Calibration intervals should follow the manufacturer’s guidelines. If the manufacturer specifies a particular calibration frequency, this should be adhered to unless justified otherwise by SMJ Lab’s internal review.

## Usage Frequency:

### High-use equipment (daily or frequent use): Requires calibration more frequently (e.g., every 3 to 6 months).

### Low-use equipment (weekly or monthly use): May be calibrated less frequently (e.g., once a year).

## Environmental Conditions:

The calibration frequency may be adjusted based on the lab's environment. Equipment exposed to fluctuating or harsh conditions may require more frequent calibration to ensure accuracy.

## Historical Performance:

If an instrument has shown signs of wear or drift during previous calibrations, SMJ Lab will adjust the calibration interval accordingly, reducing it if necessary.

## Criticality of Measurement:

For instruments used for highly critical measurements (e.g., regulatory compliance tests), calibration may be required more frequently to ensure accuracy.

# Calibration Schedule Template:

| Equipment | Calibration Frequency | Next Calibration Date | Calibration Performed By | Calibration Method |
| --- | --- | --- | --- | --- |

# Calibration Records and Traceability:

## Record Keeping: All calibration records at SMJ Lab must include:

#### The date of calibration.

#### The equipment or instrument involved.

#### The calibration procedure followed.

#### The calibration results and any adjustments made.

#### The next calibration date.

#### The identification of the person or organization performing the calibration.

#### The standards or references used during calibration.

## Traceability: All calibration procedures at SMJ Lab must be traceable to recognized national or international standards. In the absence of these, appropriate reference standards will be used to ensure accuracy.

# Corrective Actions for Out-of-Tolerance Results:

## Out-of-Tolerance Findings: If any equipment is found to be out of tolerance during calibration at SMJ Lab, immediate corrective actions will be taken, including:

#### Recalibration or adjustment of the equipment.

#### Investigation into the root cause of the issue, such as environmental factors or equipment wear.

#### Review of any affected test results since the last calibration to ensure reliability.

## Recalibration: Once repairs or adjustments are made, the equipment will be recalibrated before being put back into use for testing. Retesting of samples may be required if the miscalibration has impacted results.

## Impact on Test Results: In cases where an out-of-tolerance condition affects test results, SMJ Lab will review and potentially issue corrective actions or perform retesting as needed.

# Internal and External Calibration Providers:

## Internal Calibration: Calibration performed by SMJ Lab staff using internal standards and procedures. This is suitable for equipment with lower criticality or simpler calibration processes.

## External Calibration: Calibration services from accredited third-party providers, especially for highly sensitive or complex instruments. SMJ Lab will maintain certificates from these providers for all externally calibrated equipment.