Sample Receipt Checklist

# Sample Identification:

- Check if the sample ID matches the accompanying documentation.

- Ensure that each sample is uniquely identified with a lab-generated ID.

- Verify that all containers are properly labeled with sample ID, date, and any relevant information.

# Sample Integrity:

- Inspect the packaging for any signs of damage or leakage.

- Ensure that the sample containers are properly sealed to prevent contamination.

- Check for any evidence of tampering or unauthorized opening.

# Chain of Custody:

- Verify that the chain of custody documentation is complete and accompanies each sample.

- Confirm that all relevant parties have signed off on the chain of custody form.

- Ensure that the chain of custody form includes details such as sample ID, date/time of collection, collector's name, and any handling instructions.

# Sample Quantity:

- Measure and record the quantity of each sample received.

- Ensure that the quantity received matches the quantity specified in the accompanying documentation.

- Document any discrepancies in sample quantity and notify the appropriate personnel.

# Storage Conditions:

- Check the storage temperature requirements specified for each sample type.

- Ensure that samples are stored in appropriate conditions to maintain their integrity.

- Verify that storage areas are clean, organized, and free from any potential contaminants.

# Documentation Review:

- Review all accompanying documentation for completeness and accuracy.

- Check for any special handling instructions or safety precautions.

- Confirm that all necessary forms, including sample submission forms and test request forms, are included.

# Sample Acceptance Criteria:

- Compare the received samples against the lab's acceptance criteria.

- Reject any samples that do not meet the specified criteria and notify the client accordingly.

- Document the reason for rejection and any further actions taken.

# Communication:

- Communicate with the client or sample provider regarding any discrepancies or issues with the received samples.

- Provide timely updates on sample receipt and acceptance status.

- Ensure that all communication is documented for traceability.

# Safety Precautions:

- Ensure that all received samples are handled in accordance with safety protocols.

- Provide appropriate training to personnel on handling hazardous or potentially harmful samples.

- Verify that necessary safety equipment and PPE are available and used as required.

# Record Keeping:

- Maintain detailed records of all received samples, including sample ID, quantity, condition, and acceptance status.

- Document any deviations from standard procedures and the corrective actions taken.

- Ensure that all records are securely stored and easily accessible for audit purposes.