- Purpose:

To describe the method for calculating the fixed carbon content in coal samples.

- Scope:

This SOP applies to all authorized personnel involved in coal testing at SMJ Lab. It covers the calculation of fixed carbon content as part of routine coal analysis, quality control, and reporting activities.

- Definitions And Abbreviations:

Fixed Carbon: The carbonaceous residue left after volatile matter has been driven off by heating coal under controlled conditions.

- Safety Precautions:

- Use appropriate personal protective equipment (PPE), such as heat-resistant gloves, when handling hot crucibles.

- Ensure proper ventilation when operating the muffle furnace to prevent exposure to fumes.

- Follow all laboratory safety protocols and guidelines.

- Apparatus:

None required for this calculation-based method.

- Reagents:

None required for this calculation-based method.

- Sample Handling and Preparation:

None required for this calculation-based method.

- Procedure:

  - Moisture Content:

Determine the moisture content according to procedure SMJ/SOP/LAB/01.

  - Volatile Matter:

Determine the volatile matter according to procedure SMJ/SOP/LAB/02.

  - Ash Content:

Determine the ash content according to procedure SMJ/SOP/LAB/03.

  - Fixed Carbon Calculation:

Subtract the sum of moisture content, volatile matter, and ash content from 100% to obtain the fixed carbon percentage. Calculate the average fixed carbon content based on replicate measurements if required.

- Calculation:

The volatile matter % can be calculated by the below formula:

Fixed Carbon  % = 100- moisture content+volatile matter+ash content

- Reference:

- Indian Standard IS 436 (Part 1): 2024, Methods for Sampling of Coal and Coke.

- Indian Standard IS 1350 (Part 1): 2025, Methods of Test for Coal and Coke - Proximate Analysis.

- SMJ/SOP/LAB/01, SMJ Lab SOP for “Determination of Moisture Content in Coal”

- SMJ/SOP/LAB/02, SMJ Lab SOP for “Determination of Volatile Matter in Coal”

- SMJ/SOP/LAB/03, SMJ Lab SOP for “Determination of Ash Content in Coal”