# Standard Operating Procedure

# for

# Protection and Backup of Electronic Records

# Purpose:

The purpose of this SOP is to establish procedures for protecting and backing up electronic records generated and maintained by SMJSF Lab to ensure data integrity, security, and compliance with ISO 17025:2017 requirements.

# Scope:

This SOP applies to all electronic records, including but not limited to test results, analytical data, calibration reports, and quality documents generated within SMJSF Lab.

# Reference:

- ISO/IEC 17025:2017 - General requirements for the competence of testing and calibration laboratories.

# Responsibility:

- Quality Manager: Overall responsibility for overseeing the implementation of this SOP and ensuring compliance with ISO 17025:2017.

- IT Administrator: Responsible for implementing technical measures for data protection and backup as outlined in this SOP.

- Laboratory Personnel: Responsible for adhering to the procedures outlined in this SOP for handling electronic records.

# Procedure:

## Backup Schedule Definition:

### Frequency:

- Backup schedules shall be defined based on the criticality of data and operational requirements.

- For highly critical data, such as test results and calibration records, backups shall be performed daily.

- For less critical data, such as administrative documents, weekly or monthly backups may suffice.

### Time of Backup:

- Backup timing should be scheduled during off-peak hours to minimize disruption to laboratory operations.

### Automation:

- Whenever possible, backup processes should be automated to ensure consistency and reliability.

## Backup Procedures:

### Full and Incremental Backups:

- Full backups: A complete copy of all electronic records shall be performed periodically (e.g., weekly or monthly).

- Incremental backups: Only changes made since the last full backup shall be backed up daily to optimize storage space and backup duration.

### Encryption:

- Data shall be encrypted during transmission to and from backup storage to prevent unauthorized access or tampering.

- Encryption algorithms and protocols shall adhere to industry best practices and regulatory requirements.

### Redundancy:

- Multiple copies of backups shall be maintained to ensure redundancy and fault tolerance.

- Backups shall be stored on different media types (e.g., tapes, disks, cloud storage) to mitigate risks associated with single points of failure.

### Off-site Storage:

- Backup media shall be stored securely in off-site locations, preferably in a geographically separate area from the primary data center.

- Off-site storage facilities shall be equipped with environmental controls to safeguard backup media against environmental hazards such as fire, flood, and temperature fluctuations.

### Version Control:

- Backup software or systems shall support versioning to enable the retrieval of specific versions of electronic records if needed.

- Version control mechanisms shall be implemented to track changes made to electronic records over time.

## Backup Integrity Verification:

### Routine Testing:

- Regular integrity tests shall be conducted to verify the completeness and consistency of backup data.

- Integrity tests shall include verifying the integrity of backup files, ensuring data recoverability, and identifying any discrepancies between primary and backup data.

### Restoration Exercises:

- Periodic restoration exercises shall be conducted to simulate data recovery scenarios and validate the effectiveness of backup and recovery procedures.

- Restoration exercises shall involve restoring backup data to test environments or alternate systems to assess the reliability and timeliness of data recovery.