# Standard Operating Procedure

# for

# Intermediate Check on Certified Reference Materials (CRMs)

# Purpose:

The purpose of this Standard Operating Procedure (SOP) is to establish guidelines for conducting intermediate checks on Certified Reference Materials (CRMs) at SMJSF Lab. Intermediate checks are essential to monitor the stability and performance of CRMs during use, ensuring the accuracy and reliability of analytical results.

# Scope:

This SOP applies to all personnel responsible for conducting intermediate checks on CRMs at SMJSF Lab.

# References:

- ISO/IEC 17025:2017: General requirements for the competence of testing and calibration laboratories.

- Manufacturer's instructions for handling and storage of CRMs.

# Responsibilities:

- Quality Manager: Overall responsibility for the implementation and oversight of intermediate checks on CRMs.

- Laboratory Analysts: Responsible for conducting intermediate checks according to this SOP and reporting any deviations or issues to the Quality Manager.

# Definitions:

- Certified Reference Material (CRM): A material possessing a known and well-defined property, used for calibration, quality control, and method validation purposes.

- Intermediate Check: A periodic assessment of CRM stability and performance conducted during the testing process to ensure ongoing accuracy and reliability of analytical results.

# Procedure:

## Frequency of Intermediate Checks:

- Determine the frequency of intermediate checks based on the stability characteristics of the CRMs and the requirements of testing methods and accreditation standards.

- Conduct intermediate checks at regular intervals throughout the testing process to monitor CRM performance and identify any trends or deviations.

## Selection of CRMs for Intermediate Checks:

- Select representative CRMs that cover the range of analytes and matrices being tested in the laboratory.

- Choose CRMs with known stability characteristics and compatible with the analytical methods used for testing.

## Preparation for Intermediate Checks:

- Ensure that CRMs are properly labeled and stored according to manufacturer instructions and laboratory procedures.

- Allow CRMs to equilibrate to room temperature before conducting intermediate checks to ensure accurate measurements.

## Conducting Intermediate Checks:

- Follow established testing procedures and protocols for analyzing CRMs as outlined in testing methods and accreditation standards.

- Use calibrated equipment and instruments for conducting measurements and adhere to specified measurement conditions.

## Data Analysis and Interpretation:

- Analyze the results of intermediate checks to assess the stability and performance of CRMs.

- Compare the measured values of CRMs with certified or expected values to identify any deviations or trends.

- Evaluate the precision and accuracy of analytical measurements and investigate any outliers or discrepancies.

## Documentation:

- Document all intermediate checks conducted on CRMs, including the date, time, analyst's name, CRM identification, and test results.

- Record any deviations, anomalies, or corrective actions taken during intermediate checks.

- Maintain records of intermediate checks in accordance with ISO 17025:2017 requirements and laboratory procedures.

## Reporting and Communication:

- Report the results of intermediate checks to the Quality Manager and relevant personnel in a timely manner.

- Communicate any significant findings, deviations, or trends observed during intermediate checks and propose corrective actions as necessary.

- Collaborate with laboratory staff to address any issues identified during intermediate checks and implement corrective and preventive measures.

## Review and Continuous Improvement:

- Review the results of intermediate checks regularly to monitor CRM stability and performance over time.

- Identify opportunities for improvement in laboratory procedures, equipment maintenance, and staff training based on the findings of intermediate checks.

- Continuously update and refine the intermediate check process to enhance the quality and reliability of analytical results.

## Training:

- Ensure that all personnel involved in conducting intermediate checks on CRMs receive adequate training on the procedures outlined in this SOP.

- Provide training on the use of equipment, interpretation of results, and adherence to quality assurance practices.