# Standard Operating Procedure

# for

# Operation and Intermediate Checks – Weighing Balance

# Purpose:

The purpose of this Standard Operating Procedure (SOP) is to establish guidelines for the proper operation and intermediate checks of weighing balances at SMJ Lab. Weighing balances are critical instruments used for accurate measurement of sample masses, and it is essential to ensure their proper operation and calibration to maintain measurement accuracy and reliability.

# Scope:

This SOP applies to all personnel responsible for operating and performing intermediate checks on weighing balances at SMJ Lab.

# References:

- Manufacturer's operating manual for the weighing balance.

- Laboratory procedures and guidelines for calibration and maintenance of weighing balances.

# Responsibilities:

- Quality Manager: Overall responsibility for the implementation and oversight of weighing balance operation and intermediate checks.

- Laboratory Technicians: Responsible for following this SOP and conducting daily operations and intermediate checks on weighing balances.

# Definitions:

- Weighing Balance: A precision instrument used for measuring the mass of objects or substances with high accuracy.

- Intermediate Check: A periodic assessment of balance performance conducted to verify measurement accuracy and reliability between calibration intervals.

# Procedure:

## Operation of Weighing Balance:

- Ensure that the weighing balance is placed on a stable and level surface away from sources of vibration or air currents.

- Power on the weighing balance and allow sufficient time for stabilization according to manufacturer's instructions before use.

- Calibrate the balance if required, following the manufacturer's guidelines or laboratory procedures.

- Handle samples and weighing containers with care to avoid spills or damage to the balance.

- Close all doors and windows near the balance to prevent air drafts that could affect measurements.

- Record all measurements promptly and accurately in the laboratory notebook or electronic data system.

## Intermediate Checks:

- Perform intermediate checks on the weighing balance at regular intervals to verify measurement accuracy and reliability.

- Use calibrated weights of known mass to check the accuracy of the balance across its measurement range.

- Follow a standardized procedure for conducting intermediate checks, including the number and selection of test weights and the frequency of checks.

- Record the results of intermediate checks in a logbook or electronic database, including the date, time, test weights used, and any deviations observed.

## Calibration and Maintenance:

- Calibrate the weighing balance regularly according to the laboratory's calibration schedule and procedures.

- Follow manufacturer's guidelines for calibration and maintenance, including cleaning and adjustment of the balance as necessary.

- Document all calibration and maintenance activities in a calibration logbook or electronic database, including dates, procedures performed, and any adjustments made.

## Troubleshooting:

- In case of any abnormalities or malfunctions observed during operation or intermediate checks, troubleshoot the issue following the manufacturer's troubleshooting guide or laboratory procedures.

- If the issue cannot be resolved internally, notify the Quality Manager or designated personnel for further assistance and arrange for maintenance or repair as necessary.

## Documentation:

- Maintain accurate and up-to-date records of all weighing balance operations, including calibration, intermediate checks, maintenance, and troubleshooting activities.

- Ensure that all documentation is legible, complete, and stored in a secure location for future reference and audit purposes.

## Training:

- Ensure that all personnel responsible for operating and performing intermediate checks on weighing balances receive appropriate training on the procedures outlined in this SOP.

- Provide training on the proper use of weighing balances, calibration procedures, troubleshooting techniques, and documentation requirements.