# Purpose

To ensure that all SMJ Lab personnel performing activities that affect laboratory results are competent, appropriately trained, and authorized—based on their education, training, experience, and demonstrated skills—and are qualified to perform assigned tasks within the laboratory’s scope of testing in accordance with ISO/IEC 17025:2017 Clause 6.2.

# Scope

This procedure applies to all personnel whose work impacts testing and calibration activities, sampling, method validation, equipment operation, data review and reporting, and quality assurance activities.

# Normative References

## ISO/IEC 17025:2017

General requirements for the competence of testing and calibration laboratories.

## Laboratory Quality Manual

Provides an overview of the laboratory's quality policies, objectives, organizational structure, and key processes.

# Definitions

## Competence

Ability to apply knowledge and skills to achieve intended results.

## Authorization

Formal approval for an individual to perform specific tasks independently.

## Training

Planned activities designed to develop required knowledge and skills.

# Responsibilities

## Quality Manager

Responsible for maintaining training and competence records and for monitoring the implementation of this procedure to ensure compliance and effectiveness.

## Technical Manager

Responsible for defining technical competency requirements for their respective areas, providing or arranging the necessary training, and evaluating personnel competence to ensure requirements are met.

## Laboratory Personnel

Responsible for participating in all required training activities and for maintaining and demonstrating their competence in performing assigned tasks.

# Procedure

## Determination of Competency Requirements

SMJ Lab shall ensure that competency requirements are defined for all positions affecting laboratory activities. Competency requirements shall be established prior to assignment of responsibilities and shall be aligned with the laboratory’s scope of accreditation.

Each position shall have a formally approved Job Description that defines:

- Roles and responsibilities

- Required educational qualifications

- Required experience

- Technical competencies

- Authority and authorization limits

- Reporting relationships

The Technical Manager is responsible for identifying technical competency requirements for each method and activity. These requirements shall be documented in the Competency Matrix, which links:

- Personnel

- Test methods

- Equipment

- Level of authorization

The Competency Matrix shall be reviewed annually or when new methods or equipment are introduced.

## Recruitment and Qualification Verification

Prior to employment, SMJ Lab shall verify that the candidate meets the defined competency requirements.

Verification activities include:

- Review of academic qualifications

- Verification of professional certifications (if applicable)

- Evaluation of prior laboratory experience

- Technical interview conducted by the Technical Manager

- Practical assessment where required

All verification records shall be retained in the individual’s personnel file.

No individual shall perform technical activities independently until qualifications have been verified and training completed.

## Induction Training

All newly appointed personnel shall undergo formal induction training before participating in laboratory operations.

The purpose of induction is to ensure awareness of the laboratory’s management system, ethical obligations, and safety requirements.

Induction training shall cover, at minimum:

- SMJ Lab Quality Policy and Objectives

- ISO/IEC 17025 awareness

- Organizational structure

- Impartiality and confidentiality requirements

- Laboratory safety and emergency procedures

- Document and record control

- Sample handling procedures

- Data integrity principles

Induction training shall be documented using an Induction Checklist and signed by both trainer and trainee.

## Technical Training

Technical training shall be structured, planned, and documented. The Technical Manager shall prepare an Annual Training Plan, considering:

- New methods introduced

- Method revisions

- Equipment upgrades

- Proficiency testing performance

- Audit findings

- Identified skill gaps

Technical training may include:

### Method-Specific Training

Personnel shall be trained on the principle, scope, limitations, calculations, and quality control requirements of each assigned method.

### Equipment Training

Training shall include operation, calibration requirements, maintenance procedures, troubleshooting, and safety precautions.

### Quality Control & Data Management Training

Personnel shall be trained on:

- Control chart interpretation

- Proficiency testing participation

- Measurement uncertainty (where applicable)

- Data entry and review procedures

- Report generation and verification

Training may be delivered through classroom sessions, supervised practice, vendor training, or external courses.

## On-the-Job Training (OJT)

Following theoretical training, personnel shall undergo structured On-the-Job Training under supervision of authorized personnel.

During OJT:

- The trainee performs tests under supervision

- Results are reviewed for accuracy

- Errors are corrected immediately

- A minimum number of satisfactory test results shall be defined

OJT duration shall depend on method complexity and all OJT activities shall be documented.

## Competence Assessment

Personnel shall not be authorized for independent work until competence is demonstrated.

Competence assessment shall evaluate the individual’s ability to:

- Follow the test method correctly

- Operate equipment properly

- Apply acceptance criteria

- Perform calculations accurately

- Identify abnormal or nonconforming results

- Maintain proper documentation

Assessment methods may include:

- Direct observation

- Blind sample testing

- Review of test records

- Written or oral questioning

- Evaluation of QC data

- Proficiency testing results

The assessor shall document:

- Method evaluated

- Assessment date

- Assessment outcome

- Comments

- Decision (Competent / Not Yet Competent)

If the individual is found not yet competent, additional training shall be provided and reassessment scheduled.

## Authorization

Authorization shall be granted only after successful completion of training and competence assessment.

The authorization process includes:

- Recommendation by Technical Manager

- Approval by Laboratory Manager

- Entry into the Authorization Matrix

Authorization shall clearly specify:

- Method(s)

- Equipment (if applicable)

- Level of authority (Performer / Reviewer / Signatory)

Report signatories must demonstrate additional competence in:

- Interpretation of results

- Evaluation of measurement uncertainty

- Understanding regulatory requirements

- Application of decision rules

Authorization records shall be controlled documents.

## Ongoing Competence Monitoring

Competence is not a one-time activity. SMJ Lab shall continuously monitor personnel performance through:

- Internal audits

- Proficiency testing participation

- Quality control data trends

- Supervisory observation

- Customer complaints

- Nonconformity records

If performance issues are identified:

- Root cause analysis shall be conducted

- Corrective actions implemented

- Retraining performed if necessary

- Reassessment conducted

- Authorization suspended if required

Formal competence reassessment shall be conducted biennially or when significant changes occur such as new methods, major equipment upgrades, or prolonged absence.

# Training Process Flow

SMJ Lab follows a structured process to ensure systematic development and monitoring of personnel competence.

## Identification of Training Need

Training needs may arise from:

- Recruitment of new personnel

- Introduction of new methods

- Equipment upgrades

- Audit findings

- PT/ILC performance issues

- Annual performance reviews

The identified need shall be recorded and added to the Training Plan.

## Training Planning

For each identified need, the Technical Manager shall define:

- Training objectives

- Method or equipment involved

- Trainer

- Duration

- Assessment method

The Laboratory Manager shall approve the plan.

## Training Implementation

Training shall be delivered in accordance with the approved plan, and attendance and completion shall be documented; where technical training is involved, supervised practice shall follow.

## Competence Assessment

After training, a formal competence assessment shall be conducted; if the individual demonstrates competence, the process proceeds to authorization, and if competence is not demonstrated, additional training shall be provided.

## Authorization

Upon successful assessment:

- Authorization recommendation issued

- Management approval granted

- Authorization Matrix updated

- Personnel formally notified

## Ongoing Monitoring and Review

Authorized personnel shall be subject to continuous performance monitoring.

Annual review of the Competency Matrix shall be conducted to ensure:

- Authorizations remain valid

- Training remains adequate

- No competency gaps exist

Where deficiencies are identified, retraining and reassessment shall be initiated.

# Records Management

All personnel competence records shall be:

- Maintained under document control

- Confidential

- Readily retrievable for audits

- Retained for the defined retention period

Records include:

- Job descriptions

- Training records

- Competency assessments

- Authorization approvals

- PT performance records