| Sample No.: |  | Sample Type: | Coal Biofuel |
| --- | --- | --- | --- |

Moisture Content

| Date of Analysis:; Name of Chemist:. |
| --- |
| Weight of oven dried and cooled Container; W₁ =; gm. Weight of Sample + Vessel before oven drying; W₂ =; gm. Weight of Sample + Vessel after oven drying; W₃ =; gm. | Moisture Content, %; =; 100 x (W₂ – W₃). (W₂ – W₁). |

Volatile Matter

| Date of Analysis:; Name of Chemist:. |
| --- |
| Weight of empty crucible; W₁ =; gm. Weigh of crucible and lid + sample before heating; W₂ =; gm. Weigh of crucible and lid + sample after heating; W₃ =; gm. | Volatile Matter, %; =; 100 x (W₂ – W₃). (W₂ – W₁). |

Ash Content

| Date of Analysis:; Name of Chemist:. |
| --- |
| Weight of empty container; W₁ =; gm. Weigh of container + sample; W₂ =; gm. Weigh of container + ash (90 min in Muffle Furnace); W₃ =; gm. Weigh of container after cleaning (brushing); W₄ =; Gm. | Ash Content, %; =; 100 x (W₂ – W₃). (W₂ – W₁). |

Fixed Carbon

| Date of Analysis:; Name of Chemist:. |
| --- |
| Measured Moisture Content; MC =; gm. Measured Volatile Matter; VM =; gm. Measured Ash Content; AC =; gm. | Fixed Carbon, %; =; 100 - (MC + VM + AC). |

Gross Calorific Value

| Date of Analysis:; Name of Chemist:. |
| --- |
| Water Equivalent of Bomb Calorimeter; W₁ =; cal/°C. Weight of empty Crucible; M₁ =; gm. Weight of Crucible + Sample; M₂ =; gm. Temperature rise; ΔT =; °C. Nichrome and Thread Correction; e_corr =; cal/gm. | Gross Calorific Value, cal/g; =; w x (M₂ – M₁) - e_corr. ΔT. |