| Sample Details |  |  |  | Sample type: Coal Biofuel |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample 1 |  |  | Sample 2 |  |  |  |
| Sample Code | : |  | Sample Code |  | : |  |
| Sampled By | : |  | Sampled By |  | : |  |
| Sampling Date | : |  | Sampling Date |  | : |  |
| Analysis Start | : |  | Analysis Start |  | : |  |
| Analysis Finish | : |  | Analysis Finish |  | : |  |

Results

|  | Parameter |  | Sample 1 |  | Sample 2 |  | Unit |  | Method of Analysis |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Moisture Content |  |  |  |  |  | -- |  | IS 1350 (Part 1) / IS 17655 (Part 2) |
|  | Volatile Matter |  |  |  |  |  | ˚C |  | IS 1350 (Part 1) / IS 17844 |
|  | Fixed Carbon |  |  |  |  |  | Hazen |  | Calculated from proximate analysis |
|  | Ash Content |  |  |  |  |  | -- |  | IS 1350 (Part 1) / IS 17653 |
|  | Carbon |  |  |  |  |  | -- |  | IS 1350 (Part 4) / IS 17832 |
|  | Hydrogen |  |  |  |  |  | NTU |  | IS 1350 (Part 4) / IS 17832 |
|  | Nitrogen |  |  |  |  |  | mS/cm |  | IS 1350 (Part 4) / IS 17832 |
|  | Oxygen |  |  |  |  |  | mg/lit |  | Calculated (IS 1350 Part 4) / (ISO 16993) |
|  | Sulfur |  |  |  |  |  | mg/lit |  | IS 1350 (Part 3) / IS 17833 |
|  | Gross Calorific Value |  |  |  |  |  | mg/lit |  | IS 1350 (Part 2) / IS 17654 |
|  | Net Calorific Value |  |  |  |  |  | mg/lit |  | Calculated from GCV |
|  | Specific Energy |  |  |  |  |  | mg/lit |  | Derived from calorific value |
|  | Particle Size Distribution |  |  |  |  |  | mg/lit |  | IS 436 (Part 1) / ISO 17827 |
|  | Density |  |  |  |  |  | mg/lit |  | ASTM D291 / ISO 17828 |
|  | Mercury Content |  |  |  |  |  | mg/lit |  | ASTM D6722 / ISO 16994 |
|  | Chlorine Content |  |  |  |  |  | mg/lit |  | ASTM D4208 / ISO 16994 |
|  | Fluorine Content |  |  |  |  |  | mg/lit |  | ASTM D5987 / ISO 16994 |
|  | Trace Elements |  |  |  |  |  | mg/lit |  | ASTM D3683 / ISO 16968 |

Remarks (If any):