# Equipment Preventive Maintenance Record

| Maintenance Date | : |  | Make/Model | : |  |
| --- | --- | --- | --- | --- | --- |
| Equipment ID | : |  | Frequency | : |  |
| Serial No. | : |  | Location | : |  |

# General Inspection Checkpoints

| - Equipment clean & free from dust Yes No |  |  |
| --- | --- | --- |
| Remarks | : |  |
| Action Taken | : |  |
| - Power cable & plug condition OK Yes No |  |  |
| Remarks | : |  |
| Action Taken | : |  |
| - Earthing/grounding proper Yes No |  |  |
| Remarks | : |  |
| Action Taken | : |  |
| - Display/indicators functioning Yes No |  |  |
| Remarks | : |  |
| Action Taken | : |  |
| - Calibration status valid Yes No |  |  |
| Remarks | : |  |
| Action Taken | : |  |
| - Environment conditions suitable Yes No |  |  |
| Remarks | : |  |
| Action Taken | : |  |

# Equipment-Specific Preventive Maintenance Checkpoints

| Checkpoint | Acceptance Criteria | Status |  | Remarks |
| --- | --- | --- | --- | --- |
| Internal calibration | Pass |  |  |  |
| External weight check | Within tolerance |  |  |  |
| Level bubble centered | Yes |  |  |  |
| Pan cleanliness | Clean |  |  |  |
| Repeatability check | Within limit |  |  |  |

# Breakdown & Corrective Maintenance Record

| Date |  | Problem Observed |  | Action Taken |  | Parts Replaced |  | Downtime |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

# Preventive Maintenance Compliance Summary

# Remarks