## Report
RE-TEST REPORT
| Issued to |  |  |  | :
| Details |  |  |  | :
| Reference |  |  |  | :
Re-test Sample Details
| Report Type |  |  |  |  | : | Re-Test |  |  | Re-test Report No. |  | :
| Requested By |  |  |  |  | : | Internal QC |  |  | Re-Testing Reason |  | : | Quality check
Orignal Sample Details
| Location |  |  |  |  | : |  |  |  | Sampling Method |  | : | NA
| Description |  |  |  |  | : |  |  |  | Sample Code |  | :
| Date Recived |  |  |  |  | : | 2026-03-13 |  |  | Analysis Period |  | : | 14.03.2026 to 16.03.2026
| Sampled By |  |  |  |  | : | Submitted by client |  |  | Sample Pkg. & Qty. |  | : | 1 kg in plastic bag
| Report No. |  |  |  |  | : |  |  |  | Issue Date |  | :
Test Result
| Sr. No. |  |  | Parameter |  |  |  | Original Result | Re-Test Result |  | Unit |  |  | Method
| 1 |  |  | Moisture Content |  |  |  | 12.68 | 13.28 |  | % |  |  | IS 1350 - Part 1
| 2 |  |  | Ash Content |  |  |  | 18.64 | 19.32 |  | % |  |  | IS 1350 - Part 1
| 3 |  |  | Volatile Matter |  |  |  | 42.26 | 41.83 |  | % |  |  | IS 1350 - Part 1
| 4 |  |  | Fixed Carbon |  |  |  | 26.42 | 25.57 |  | % |  |  | IS 1350 - Part 1 (by calculation)
| 5 |  |  | Gross Calorific Value |  |  |  | 5838.47 | 5759.38 |  | cal/g |  |  | IS 1350 - Part 2
Observation
The re-test results fall within acceptable analytical variation and show no significant deviation from the original report.
|  | Note: | This Test Report refers only to the sample tested. The complaint register is available with the Laboratory as per Environment Protection Act, 1986. This Test Report shall not be reproduced except in full, without written approval of the Laboratory.
Authorized Signatory
*** End of Report ***