- Purpose

To verify that the laboratory management system complies with ISO/IEC 17025 requirements and ensures accurate, reliable, and technically valid coal test results.

- Scope

This internal audit covers:

| - Sample receipt and registration | - Sample preparation |
| --- | --- |
| - Moisture determination | - Ash content determination |
| - Volatile matter determination | - Fixed carbon calculation |
| - Gross Calorific Value (Bomb Calorimeter) | - Equipment calibration & maintenance |
| - Quality control (CRMs, duplicates, control charts) | - Reporting and data management |
| - Personnel competence & training | - Document and record control |

- Audit Objectives

- Verify compliance with ISO/IEC 17025

- Evaluate technical competence

- Confirm equipment traceability

- Ensure validity of test results

- Identify risks and improvement opportunities

- Audit Approach (Risk-Based)

| Process | Risk Level | Audit Frequency |
| --- | --- | --- |
| Bomb Calorimeter (GCV) | High | Twice per year |
| Sample Preparation | High | Twice per year |
| Sulfur Testing | Medium | Once per year |
| Moisture / Ash/VM | Medium | Once per year |
| Reporting & Data | Medium | Once per year |
| Document Control | Low | Once per year |

- Audit Method

The internal audit shall be conducted using a systematic, process-based, and risk-based approach to verify both management and technical compliance with applicable requirements.

- The audit methodology shall include, but is not limited to, the following activities:

- Review of documented procedures to ensure adequacy and compliance

- Observation of testing activities to verify proper implementation of methods and controls

- Interviews with personnel to assess competence, awareness, and understanding of responsibilities

- Review of records to confirm conformity and traceability

- Evaluation of quality control data to verify the effectiveness of monitoring and control measures

- Auditor Assignment

Auditors shall be appointed to ensure objectivity, competence, and impartiality of the audit process.

Auditors shall:

- Be trained and competent in internal auditing principles, procedures, and applicable standards

- Be independent of the activities being audited to ensure impartiality

- Not audit their own work or areas for which they have direct responsibility

- Auditor selection shall ensure freedom from conflict of interest and maintain the integrity of the audit process.

- Audit Reporting

Each internal audit shall result in the following documented outputs, as applicable:

- Audit Checklist – Completed checklist used to document the scope, criteria, and evidence reviewed during the audit.

- Audit Report – A formal report summarizing the audit scope, objectives, findings, and conclusions.

- Nonconformity Report (NCR) – Issued for any identified nonconformities, clearly describing the requirement, objective evidence, and nature of the nonconformity.

- Corrective Action Plan – Developed by the responsible function to address identified nonconformities, including root cause analysis, corrective actions, responsibilities, and target completion dates.

- Follow-up Verification – Documented verification to confirm that corrective actions have been effectively implemented and are effective.

Audit reports shall be distributed to relevant management and retained as controlled records.

- Management Review

The results of internal audits, including identified nonconformities, corrective actions, and status of follow-up activities, shall be presented during Management Review meetings.

Management shall evaluate audit outcomes to:

- Assess the effectiveness of the management system

- Identify trends or recurring issues

- Allocate resources as necessary

- Determine opportunities for improvement