- Objective:

The purpose of this Internal Audit Program is to ensure that SMJ Lab’s management system and coal quality testing activities comply with:

- ISO/IEC 17025 requirements

- Customer requirements

- SMJ Lab policies, procedures, and SOPs

Internal audits provide confidence in the technical competence, data integrity, and continual improvement of laboratory operations.

- Scope:

This program applies to all activities performed at SMJ Lab, including but not limited to:

- Sample preparation

- Proximate analysis

- Gross Calorific Value (GCV) testing

- Instrument calibration and maintenance

- Quality control and reference materials

- Test reporting and data integrity

- Purchasing and document control

- Audit Frequency

- All laboratory processes shall be audited at least once every 12 months.

- Critical or high-risk activities (e.g., GCV testing, balance calibration, data reporting) may be audited more frequently if required.

- Additional audits may be conducted following:

  - Major nonconformities

  - Customer complaints

  - Significant changes in methods, equipment, or personnel

- Audit Criteria

Audits shall be conducted against:

- ISO/IEC 17025 : 2017

- SMJ Lab Quality Manual

- Approved SOPs, test methods, and work instructions

- Customer and regulatory requirements (where applicable)

- Responsibilities

  - Laboratory Manager

  - Approves the Internal Audit Program and annual Audit Plan

  - Ensures resources and independence for audits

  - Quality Manager

  - Maintains this program

  - Prepares the Internal Audit Plan

  - Ensures follow-up and closure of audit findings

  - Internal Auditors

  - Shall be trained and competent

  - Shall not audit their own work

  - Conduct audits objectively and impartially

- Audit Methodology

Internal audits shall include:

  - Review of documents and records

  - Interviews with laboratory personnel

  - Observation of testing activities

  - Verification of equipment calibration and QC practices

Audit findings shall be categorized as:

  - Nonconformity (Major / Minor)

  - Observation

  - Opportunity for Improvement (OFI)

- Corrective Action & Follow-up

  - All nonconformities shall be addressed through root cause analysis

  - Corrective actions shall be implemented within agreed timelines

  - Effectiveness of actions shall be verified and documented

- Records

The following records shall be maintained:

  - Internal Audit Program

  - Internal Audit Plans

  - Audit checklists

  - Audit reports

  - Corrective action records