Quality Manual

ISO 17025:2017

Quality Management Systems Documentation

Document No.: SMJ/QMS/QM/01

Issue No	: 01

Issue Date	: 01.07.2024

Copy No.	: 01

Copy Holder	: Quality Manager

SMJ Sustainable Fuel Lab Pvt. Ltd.

Survey no. 52, Kem Rith, Village-Bamni

Ballarpur, District-Chandrapur

Maharashtra – 442 701

AMENDMENT RECORD

| Sr. No. | Page No. | Section/Clause/ Para/line (As applicable) | Date of Amendment | Amendment made | Reasons of Amendment | Amended by | Approved by |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Front page | Quality Manual – Laboratory Address (Front Page) | 13.02.2026 | Laboratory address updated to actual operational address | Address inconsistency identified during pre-assessment audit | QM | MD |

INDEX

| Section | Contents | Page | ISO/IEC 17025:2017 |
| --- | --- | --- | --- |
| ‒ | Amendment Record | 1 | ‒ |
| ‒ | Index | 2 - 3 | ‒ |
| ‒ | Quality Policy | 4 | ‒ |
| ‒ | Distribution List | 5 | ‒ |
| 1 | Introduction | 6 | ‒ |
| 1.1 | Purpose | 6 | ‒ |
| 1.2 | Scope | 6 | ‒ |
| 1.3 | Objectives | 6 | ‒ |
| 1.4 | Responsibilities | 6 | ‒ |
| 2 | Scope and Fields of Application | 7 - 8 | ‒ |
| 2.1 | Testing Services Offered | 7 | ‒ |
| 2.2 | Industries Served | 7 | ‒ |
| 2.3 | Geographical Coverage | 7 | ‒ |
| 2.4 | Limitations | 8 | ‒ |
| 3 | List of Abbreviations | 9 | ‒ |
| 4 | General requirements | 10 - 12 | 4.0 |
| 4.1 | Impartiality | 10 | 4.1 |
| 4.2 | Confidentiality | 11 | 4.2 |
| 5 | Structural requirements | 13 - 14 | 5.0 |
| 6 | Resource requirements | 15 - 20 | 6.0 |
| 6.1 | General | 15 | 6.1 |
| 6.2 | Personnel | 15 - 16 | 6.2 |
| 6.3 | Facilities and Environmental Conditions | 16 | 6.3 |
| 6.4 | Equipment Management | 16 - 18 | 6.4 |
| 6.5 | Metrological Traceability | 18 - 19 | 6.5 |
| 6.6 | Externally Provided Products and Services | 20 | 6.6 |
| 7 | Process Requirements | 21 - 30 | 7.0 |
| 7.1 | Review of Requests, Tenders and Contract | 21 - 22 | 7.1 |
| 7.2 | Selection, Verification and Validation of Method | 22 - 23 | 7.2 |
| 7.2.1 | Selection and Verification of Method | 22 - 23 | 7.2.1 |
| 7.2.2 | Validation of Method | 23 | 7.2.2 |
| 7.3 | Sampling | 23 - 24 | 7.3 |
| 7.4 | Handling of test items | 24 | 7.4 |
| 7.5 | Technical Records | 25 | 7.5 |
| 7.6 | Evaluation of measurement uncertainty | 25 | 7.6 |
| 7.7 | Ensuring the Validity of results | 25 - 26 | 7.7 |
| 7.8 | Reporting of results | 26 - 28 | 7.8 |
| 7.8.1 | General | 26 | 7.8.1 |
| 7.8.2 | Common requirements for reports (Test and Sampling) | 26 - 27 | 7.8.2 |
| 7.8.3 | Specific requirements for report | 27 | 7.8.3 |
| 7.8.4 | Specific requirements for calibration certificates | 27 | 7.8.4 |
| 7.8.5 | Specific requirements for sampling | 27 - 28 | 7.8.5 |
| 7.8.6 | Reporting statement of conformity | 28 | 7.8.6 |
| 7.8.7 | Reporting opinion and interpretation | 28 | 7.8.7 |
| 7.8.8 | Amendment to reports | 28 | 7.8.8 |
| 7.9 | Complaints | 29 | 7.9 |
| 7.10 | Nonconforming work | 29 | 7.10 |
| 7.11 | Control of data and information management | 30 | 7.11 |
| 8 | Management system requirements | 31 - 36 | 8.0 |
| 8.1 | Option | 31 | 8.1 |
| 8.1.1 | General | 31 | 8.1.1 |
| 8.1.2 | Option A | 31 | 8.1.2 |
| 8.2 | Management system documentation (Option A) | 31 - 32 | 8.2 |
| 8.3 | Control Management system documents (Option A) | 32 | 8.3 |
| 8.4 | Control of records | 32 - 33 | 8.4 |
| 8.5 | Action to address risk and opportunities (Option A) | 33 | 8.5 |
| 8.6 | Improvement (Option A) | 33 - 34 | 8.6 |
| 8.7 | Corrective action (Option A) | 34 | 8.7 |
| 8.8 | Internal Audit (Option A) | 34 - 35 | 8.8 |
| 8.9 | Management review (Option A) | 35 - 36 | 8.9 |
|  | ANNEXURES |  |  |
| Annexure 1 | Legal Identity | 37 | ‒ |
| Annexure 2 | Organisation Chart “Company” | 38 | ‒ |
| Annexure 3 | Organisation Chart “Laboratory” | 39 | ‒ |
| Annexure 4 | List Of Quality Management System Procedures | 40 | ‒ |
| Annexure 5 | Quality Objectives | 41 | ‒ |

DISTRIBUTION LIST

Following are the authorized holders of the controlled copy of the Quality Manual.

| Controlled Copy No. | Name and Designation of the Copy Holder |
| --- | --- |
| 01 | QUALITY MANAGER (Master Copy) |
| 02 | MANAGING DIRECTOR |

- INTRODUCTION

This document sets the foundation for understanding the laboratory's mission, objectives, and commitment to quality. It provides stakeholders with a clear overview of the laboratory's purpose, scope, and the principles guiding its operations. By establishing clear objectives and responsibilities, SMJ Lab endeavours to fulfil its mission of providing reliable testing services that contribute to environmental protection, public health, and safety, as well as the efficient utilization of coal resources.

  - Purpose:

The purpose of this Quality Manual is to establish and maintain a comprehensive Quality Management System (QMS) that ensures the delivery of accurate, reliable, and timely testing services for environmental and coal samples. By adhering to internationally recognized standards and best practices, we aim to meet the needs and expectations of our clients while upholding the highest standards of quality, integrity, and professionalism.

  - Scope:

This Quality Manual applies to all activities and processes carried out within SMJ Lab, including sample collection, preparation, analysis, data interpretation, and reporting. It encompasses the entire testing workflow, from initial client contact to the issuance of test reports, and extends to all personnel, equipment, facilities, and resources involved in laboratory operations.

  - Objectives:

The primary objectives of our laboratory are to:

- Provide accurate, reliable, and legally defensible testing services for environmental and coal samples.

- Ensure compliance with applicable national and international standards, regulatory requirements, and client specifications.

- Continuously improve our processes, systems, and services through ongoing monitoring, evaluation, and feedback.

- Enhance customer satisfaction by delivering results in a timely manner, maintaining open communication, and addressing customer needs and concerns promptly and effectively.

- Foster a culture of quality, professionalism, and innovation among our staff through training, empowerment, and recognition of achievements.

  - Responsibilities:

The successful implementation and maintenance of the Quality Management System outlined in this manual require the commitment and involvement of all personnel within SMJ Lab. Management is responsible for providing leadership, resources, and support to ensure the effectiveness of the QMS. Employees are responsible for adhering to established procedures, following best practices, and actively participating in quality improvement initiatives.

- SCOPE AND FIELDS OF APPLICATION

This Quality Manual for SMJ Lab provides a comprehensive overview of the laboratory's testing services, potential industries served, geographical coverage, and any limitations associated with the testing processes. By clearly defining the scope of our testing services, industries served, geographical coverage, and limitations, SMJ Lab aims to provide clients with transparent and reliable information to make informed decisions regarding their testing needs and requirements.

  - Testing Services Offered:

SMJ Lab offers a wide range of testing services to assess the quality, composition, and characteristics of environmental samples and coal. Our testing capabilities encompass various parameters, including but not limited to:

    - Environmental Testing:

  - Water Quality Analysis: Assessment of physical, chemical, and biological parameters in surface water, groundwater, and wastewater.

  - Soil and Sediment Analysis: Evaluation of soil fertility, contaminants, and sediment characteristics.

  - Air Quality Monitoring: Measurement of air pollutants, particulate matter, and volatile organic compounds (VOCs).

  - Hazardous Waste Characterization: Identification and quantification of hazardous constituents in waste materials.

    - Coal Testing:

  - Proximate and Ultimate Analysis: Determination of moisture, volatile matter, fixed carbon, ash content, etc.

  - Calorific Value Determination: Measurement of the heating value or energy content of coal samples.

  - Ash Fusion Temperature: Assessment of the temperature at which coal ash forms molten slag, critical for combustion processes.

  - Sulfur and Trace Element Analysis: Quantification of sulfur content and trace elements present in coal, which can affect combustion efficiency and environmental emissions.

  - Potential Industries Served:

Our testing services cater to a diverse range of industries that rely on accurate and reliable data for compliance, process optimization, research, and development. These industries include but are not limited to:

- Mining and Extractive Industries

- Power Generation and Utilities

- Environmental Consulting Firms

- Regulatory Agencies and Government Bodies

- Manufacturing and Industrial Facilities

- Research Institutions and Academic Organizations, etc.

  - Geographical Coverage:

The SMJ Lab operates within Vidarbha region with the ability to serve clients locally and nationally. We have established strategic partnerships and logistics networks to facilitate sample collection, transportation, and analysis across different regions, ensuring timely and efficient service delivery.

  - Limitations:

While SMJ Lab strives to deliver comprehensive and accurate testing services, certain limitations may apply due to factors such as:

- Sample Matrix Complexity: Some samples may exhibit complex matrices or interferences that could affect the accuracy or reliability of test results.

- Analytical Methodologies: While we employ validated and accredited test methods, limitations associated with specific analytical techniques or instrumentation may impact the detection limits or precision of certain analyses.

- Sample Quantity and Quality: The quality and quantity of the sample provided for analysis can influence the reliability and representativeness of the test results.

- Regulatory Requirements: Compliance with regulatory standards and requirements may impose limitations on certain testing parameters or methodologies.

- LIST OF ABBREVIATIONS

| SMJ Lab | : | SMJ Sustainable Fuel Lab Pvt. Ltd. |
| --- | --- | --- |
| Dir | : | Director |
| GM | : | General Manager |
| OM | : | Operational Manager/Operations Head |
| TM | : | Technical Manager |
| QM | : | Quality Manager |
| DTM | : | Deputy Technical Manager |
| DQM | : | Deputy Quality Manager |
| EOP | : | Equipment Operating Procedure |
| ICP | : | Internal Calibration Procedures |
| IEC | : | International Electro technical Commission |
| IHM | : | In-House Method |
| ISO | : | International Organization for Standardization |
| Lab | : | Laboratory |
| NABL | : | National Accreditation Board for Testing and Calibration laboratories |
| QMSP | : | Quality Management System Procedures |
| SOP | : | Standard Operating Procedures |
| CPCB | : | Central Pollution Control Board. |
| MPCB | : | Maharashtra Pollution Control Board. |
| MIDC | : | Maharashtra Industrial Development Corporation. |
| SPCB | : | State Pollution Control Board. |
| MoEFCC | : | Ministry of Environment, Forest and Climate Change |
| EMS | : | Environment Management Services |

- GENERAL REQUIREMENTS

  - Impartiality:

At SMJ Lab, all laboratory activities are conducted with strict adherence to the principle of impartiality. Our operations are meticulously structured and managed to safeguard this core requirement of ISO/IEC 17025. Impartiality is embedded in our organizational culture, and we have established policies, procedures, and controls to ensure it is maintained at all levels of the organization.

To uphold impartiality:

- A clear demarcation is maintained between testing personnel and administrative or commercial staff.

- Our organizational structure is designed to eliminate conflicts of interest and promote independent judgment.

- The Quality Manager is responsible for overseeing impartiality across all activities and ensuring that all interactions with customers, employees, and subcontractors are free from undue influence.

    - Laboratory Activities Undertaken Impartially:

SMJ Lab recognizes the paramount importance of conducting laboratory activities impartially to maintain the integrity and credibility of test results. All activities are designed and managed to prevent bias or influence. Decisions and judgments are based exclusively on objective criteria and sound scientific principles.

    - Commitment to Impartiality by Laboratory Management:

Management at SMJ Lab is fully committed to impartiality in all laboratory operations. This commitment is reflected in the laboratory's policies, organizational culture, and daily practices. Our leadership ensures that impartiality is maintained through active oversight and regular reviews, and it promotes a workplace environment where staff can report concerns without fear of retaliation.

    - Responsibility for Impartiality:

SMJ Lab accepts full and final responsibility for the impartiality of all laboratory activities. We take all necessary measures to ensure that commercial, financial, or other pressures do not compromise impartiality. Personnel are trained to identify and report any potential influences that could affect their objectivity. Strict internal controls and protocols are in place to uphold independence.

    - Identification and Management of Risks to Impartiality:

We conduct ongoing assessments to identify potential risks to impartiality that may arise from:

  - Ownership and governance structures

  - Financial or commercial relationships

  - Shared resources or facilities

  - Personal relationships or interests of staff

Recognizing that not all relationships pose a threat to impartiality, SMJ Lab evaluates each situation carefully to determine the level of risk. Where a risk is identified, appropriate and proportionate actions are implemented to mitigate or eliminate it. These may include:

  - Assigning independent personnel to specific tasks

  - Segregating duties and responsibilities

  - Establishing additional supervision or quality checks

Identified risks and their corresponding mitigation measures are documented in an impartiality risk register. A formal risk review is conducted at least annually, typically during the management review, and sooner if operational or structural changes occur. These records are maintained and reviewed by the Quality Manager.

The impartiality policy and its associated requirements are communicated as follows:

  - To all employees: via training sessions during induction and through refresher training.

  - To all subcontractors/external providers: via signed confidentiality and impartiality agreements, which are incorporated into purchase orders or work contracts.

    - Demonstration of Risk Mitigation:

Where risks to impartiality are identified, SMJ Lab is fully capable of demonstrating how such risks are mitigated or eliminated. Our procedures include well-defined mechanisms for risk response, including the use of independent personnel, resource allocation, and control activities. The Quality Manager oversees the implementation of these measures, ensuring consistent application and documentation.

    - Organizational Structure and Independence

SMJ Lab maintains an organizational structure that supports and preserves impartiality. A detailed organizational chart (see Annex 2) outlines the roles, responsibilities, and reporting lines within the laboratory. This structure ensures separation of technical functions from administrative and commercial influences. It clearly delineates authority and independence in decision-making, especially concerning testing, reporting, and quality control.

  - Confidentiality:

At SMJ Lab, we are committed to protecting the confidentiality of all information obtained or created during the course of laboratory activities. This commitment applies to client information, internal records, and data provided by third parties such as regulators or complainants.

    - Responsibility for Confidentiality:

SMJ Lab accepts full responsibility for the protection of confidential information and has in place legally enforceable agreements with personnel and service providers to uphold this obligation. We do not disclose any proprietary or customer information without prior consent, unless legally required. Exceptions to this policy are clearly defined and communicated to clients.

All personnel receive training on confidentiality obligations during onboarding and as part of ongoing competence development. Confidentiality requirements are integrated into our contracts, work procedures, and code of conduct.

    - Release of Confidential Information:

In situations where SMJ Lab is required by law or authorized by contractual obligation to release confidential information, we:

  - Notify the concerned customer or individual in advance, where permissible

  - Disclose only the minimum required information

  - Maintain documentation of the disclosure decision and legal basis

Where disclosure is prohibited by law (e.g., in criminal investigations), SMJ Lab complies with legal requirements while still upholding customer privacy to the greatest extent possible.

    - Confidentiality of Information from Other Sources:

Any information received from third parties, such as regulatory bodies, complainants, or accreditation agencies, is treated with strict confidentiality. The identity and content provided by the source are not disclosed to the customer or any unauthorized personnel, unless the source provides explicit permission to do so.

    - Personnel Confidentiality Obligations:

All SMJ Lab personnel, including contractors, committee members, consultants, and others acting on behalf of the laboratory, are bound by confidentiality agreements and internal policies. These obligations remain in effect during and after the termination of employment or engagement.

SMJ Lab implements a range of technical and physical controls to safeguard confidential information, including:

  - Password-protected systems with role-based access

  - Secure servers and encryption for data transmission

  - Locked file cabinets and controlled physical access to sensitive areas

  - Activity logs and system audits where appropriate

Access to confidential information is restricted to authorized personnel only, and access permissions are reviewed periodically to maintain security and compliance.

  - Documentation And Review Of General Requirements

SMJ Lab maintains comprehensive documentation to support compliance with impartiality and confidentiality requirements, including:

- Impartiality risk assessments and mitigation records

- Confidentiality and impartiality agreements (personnel and subcontractors)

- Organizational charts and independence declarations

Records of training and competence on impartiality and confidentiality

These documents are reviewed during internal audits and at least annually during the management review to ensure continued effectiveness, legal compliance, and alignment with ISO/IEC 17025:2017.

- STRUCTURAL REQUIREMENTS

  - Legal Entity Responsibility:

SMJ Sustainable Fuel Lab Pvt. Ltd., situated in Ballarpur, India, is recognized as a legal entity according to the Company Act (Registration under the 1956 Act). The company has been issued an Incorporation Certificate No. U71200MH2024PTC425612 dated 21/05/2024, affirming its status. Consequently, it bears full legal accountability for all laboratory operations conducted on its premises.

The laboratory operates from a permanent location as given below:

Survey no. 52, Kem Rith, Village Bamni,

Ballarpur, Dist. Chandrapur,

Maharashtra – 442701

  - Management Overview:

The organizational structure of SMJ Lab, detailing Quality Management, Technical Management, and their associated services, is comprehensively outlined in Annexure-2.

To ensure clarity and efficiency in our operations, all personnel's responsibilities, authorities, and interrelationships are meticulously defined in their respective job assignment orders. This practice ensures that individuals understand the extent and limitations of their roles within the laboratory.

The Technical Manager assumes overall responsibility for overseeing the technical operations within the laboratory. Adequate resources are allocated to the Technical Manager to uphold the required quality standards in laboratory operations.

In alignment with our dedication to maintaining an effective quality management system, SMJ Lab has appointed a dedicated Quality Manager. Irrespective of other duties and responsibilities, the Quality Manager holds defined responsibilities and authorities to ensure the consistent implementation and adherence to quality management protocols across all laboratory activities.

The Quality Manager is granted direct access to the highest level of management at SMJ Lab. This access facilitates swift and effective decision-making processes concerning quality management issues, laboratory policy, and resource allocation.

  - Defined Scope of Laboratory Activities:

SMJ Lab has defined and documented the scope of its laboratory activities in accordance with ISO 17025:2017 requirements. This scope encompasses environmental testing services, including air quality analysis, water quality assessment, soil testing, and coal analysis. The laboratory is committed to providing accurate and reliable testing services within this defined scope.

Externally provided laboratory activities are excluded from the scope of the laboratory's conformity with ISO 17025:2017. However, the laboratory may engage in such activities under separate contractual agreements, ensuring compliance with relevant standards and regulations.

  - Compliance with Requirements:

SMJ Lab is dedicated to conducting laboratory activities in compliance with ISO 17025:2017 standards, customer requirements, regulatory authorities, and other relevant organizations. This commitment extends to all laboratory facilities, including permanent, temporary, mobile, and customer premises.

The laboratory maintains rigorous quality control measures to ensure the accuracy, precision, and reliability of test results. These measures include regular calibration and maintenance of equipment, proficiency testing participation, and ongoing training and competency assessments for laboratory personnel.

  - Organization and Management Structure:

    - Organization and Management Structure Definition:

The organization and management structure of SMJ Lab, including Quality Management, Technical Management, and support services, along with their linkages, are detailed in Annexure-3. This illustrates the hierarchy and relationships within the laboratory.

    - Specification of Responsibility, Authority, and Interrelationship:

Responsibilities, authorities, and interrelationships of personnel are clearly defined in their respective job assignment orders, ensuring awareness of their extent and limitations. Key staff's responsibility and authority are further outlined in detail (SMJ/SYS/EXB/05).

    - Documentation of Procedures:

SMJ Lab has documented procedures ensuring the consistent application of activities and validity of results as necessary, contributing to the reliability of laboratory operations.

  - Personnel Authority and Resources:

    - Management of Risks and Resources:

SMJ Lab demonstrates proactive risk management by identifying and minimizing risks. This includes ensuring that personnel, regardless of other responsibilities, have the authority and resources to implement, maintain, and improve the management system, as well as identify and address deviations from procedures.

    - Confidentiality Agreements:

The laboratory is committed to maintaining confidentiality as required by authorized contractual agreements. Confidential information between the laboratory and customers is not shared to uphold trust and confidentiality.

  - Communication And Integrity of Management System:

    - Establishment of Communication Processes:

The top management ensures establishment of appropriate communication processes within the laboratory, facilitating communication regarding the effectiveness of the management system. This fosters transparency and continuous improvement.

    - Maintenance of Integrity During Changes:

The lab ensures that the integrity of the management system is maintained when changes are planned and implemented. This requires a thorough risk assessment, stakeholder consultation, and documentation of changes to mitigate potential disruptions and uphold the effectiveness and integrity of the management system throughout its lifecycle.

- RESOURCE REQUIREMENTS

  - General:

The laboratory ensures the availability of sufficient managerial and technical staff, each equipped with the necessary authority and resources to fulfil their responsibilities effectively. This includes their involvement in implementing, maintaining, and enhancing the management system. Additionally, personnel are empowered to recognize any deviations from the management system or testing procedures and take proactive measures to address and mitigate these deviations.

  - Personnel:

    - Impartiality and Conflicts of Interest:

The laboratory maintains an ongoing vigilance to identify risks to its impartiality. It always ensures that neither its personnel nor any individual associated with the organization possess potential conflicts of interest in testing activities, a matter which is duly addressed within their job responsibilities.

Personnel engaged in management and testing operations operate free from undue internal or external commercial, financial, or other influences that could compromise the quality of their work. Policies and procedures outlined in SMJ/QSP/01, guide the laboratory in abstaining from activities that may undermine confidence in its competence, impartiality, judgment, or operational integrity.

    - Competence Requirements:

The laboratory documents specific competence requirements for each function, ensuring that staff undergoing training receive appropriate supervision (SMJ/QSP/02). Personnel engaged in specific tasks are qualified based on suitable education, training, experience, and/or demonstrated skills, as outlined in [SMJ/SYS/EXB/01].

    - Personnel Competence:

SMJ Lab ensures that its personnel possess the requisite competence, as specified in [SMJ/SYS/EXB/01], to carry out laboratory activities within their responsibility and to assess the significance of any deviations.

    - Communication of Duties and Responsibilities:

The laboratory's management communicates personnel duties, responsibilities, and authorities through job descriptions and specifications, as detailed in [SMJ/QSP/02].

    - Personnel Training Procedures (SMJ/QSP/02):

SMJ Lab has established procedures for personnel training, maintaining records for:

  - Determining competence requirements, considering relevant test parameters covered under the scope of accreditation.

  - Personnel selection for all laboratory activities.

  - Training programs tailored to skill and competence requirements.

  - Providing appropriate supervision.

  - Authorization of personnel based on skill and competence.

  - Monitoring personnel competence.

    - Authorization of Specific Personnel:

SMJ Lab authorizes specific personnel for various laboratory activities, including but not limited to:

  - Development, modification, verification, and validation of methods, with details maintained in the skill matrix (SMJ/SYS/EXB/01).

  - Analysis of results, including statements of conformity or opinions, and interpretations, with corresponding details in the skill matrix.

  - Report, review, and authorization of results, documented as appropriate.

  - Facilities and Environmental Conditions:

    - Suitability of Facilities and Environmental Conditions:

The Laboratory provides facilities and maintains environmental conditions that are conducive to our testing activities. We ensure that these conditions do not compromise the validity of our test results. Parameters such as dust, electromagnetic disturbances, radiation, humidity, electrical supply, temperature, sound, and vibration are meticulously controlled to safeguard the integrity of our testing processes. The following conditions are maintained in the laboratory;

| Sr. No | Parameter | Unit | Limit/Range |
| --- | --- | --- | --- |
| 1 | Temperature | °C | 25 ± 2 |
| 2 | Humidity | % | 30 - 70 |

    - Documentation of Requirements:

All requirements for facilities and environmental conditions necessary for our laboratory activities are comprehensively documented. This documentation serves as a guiding reference for our laboratory personnel. Relevant documents include our Procedure to Maintain Laboratory Environmental Conditions (SMJ/QSP/03) and the Environment Condition Monitoring Report (SMJ/FRM/QCD/08).

    - Monitoring, Control, and Recording:

SMJ Lab diligently monitors, controls, and records environmental conditions in accordance with our Quality Management System Procedures (SMJ/QSP/03). This involves regular monitoring of temperature, humidity, air quality, and other factors critical to the validity of our test results. We maintain meticulous records of environmental condition monitoring for audit and review purposes.

    - Measures to Control Facilities:

To uphold the integrity of our testing activities, SMJ Lab implements robust measures to control our facilities. These measures include:

  - Access Control: We maintain strict control over access to areas affecting laboratory activities to prevent unauthorized personnel from entering sensitive areas.

  - Contamination Prevention: Stringent protocols are in place to prevent contamination, interference, or adverse influences on our laboratory activities. This includes regular cleaning and maintenance of equipment and workspaces.

  - Effective Separation: We ensure effective separation between areas with incompatible laboratory activities to mitigate the risk of cross-contamination or interference.

    - Management System Coverage:

The management system at SMJ Lab encompasses all work conducted within our laboratory's permanent facilities. As outlined in Section 2.1, we exclusively provide testing services from our permanent location. We are committed to maintaining independence and impartiality in our services, ensuring there are no potential conflicts of interest.

  - Equipment Management:

    - Equipment Accessibility and Terminology:

SMJ Lab maintains a diverse array of essential equipment vital for efficient laboratory operations. This includes measuring instruments, software, measurement standards, reference materials, reference data, reagents, consumables, and auxiliary apparatus. These resources are indispensable for ensuring the precise execution of laboratory activities and have a profound impact on the accuracy of test results.

Reference materials from producers come with a product information sheet / certificate that specifies crucial characteristics. This documentation provides insights into the homogeneity and stability of specified properties. Certified reference materials furnish certified values for specified properties, coupled with associated measurement uncertainty and metrological traceability, thereby safeguarding the integrity and dependability of test outcomes.

    - Equipment Control:

All equipment used within SMJ Lab remains under its permanent control, eliminating the need for compliance with external control requirements.

    - Equipment Handling and Maintenance Procedure:

SMJ Lab implements Procedure (SMJ/QSP/04) to govern the handling, transport, storage, and planned maintenance of equipment, ensuring optimal functionality and preventing contamination or deterioration.

    - Verification of Equipment Conformity:

Before deployment or reinstatement into service, SMJ Lab conducts thorough verifications to ensure equipment conformity with specified requirements. Detailed records of these checks are maintained (SMJ/FRM/OPN/03) along with equipment operating procedures.

    - Equipment Suitability and Calibration Schedule:

Equipment utilized for testing (measurement) within SMJ Lab is meticulously selected to ensure its capability of achieving the required accuracy or measurement uncertainty, thereby providing valid test results. Such equipment diligently complies with specifications relevant to testing.

A calibration schedule, as per SMJ/FRM/SYS/10, is established for all equipment where these properties significantly impact the results.

Before deployment into service, each piece of equipment undergoes rigorous testing or checks to establish compliance with the specification requirements of SMJ Lab and relevant standard specifications.

All calibration details of equipment are thoroughly reviewed prior to use to uphold the integrity and accuracy of testing processes.

    - Calibration Management:

Measuring equipment undergoes calibration under the following circumstances:

  - When the accuracy or uncertainty of measurements could impact the validity of reported results.

  - When calibration is necessary to establish metrological traceability for reported results.

  - Various types of equipment can affect the validity of reported results, including:

  - Direct measurement equipment, such as automated pH testing equipment.

  - Correction equipment, such as temperature and humidity measurement devices in the laboratory, which can influence measurements.

  - Equipment used for calculating measurement results from multiple quantities.

    - Calibration Program:

SMJ Lab maintains a comprehensive calibration program, subject to periodic review and adjustment to uphold confidence in calibration status.

    - Equipment Labelling:

Equipment requiring calibration or with defined validity periods are labelled with calibration status stickers, facilitating easy identification of calibration status or validity period.

    - Handling of Defective Equipment:

Equipment subjected to overloading or mishandling, leading to suspected deviations from specified limits, undergoes a structured protocol. This entails immediate withdrawal from operations, subsequent isolation to prevent further use, and clear labelling or marking as "out of service" until repair. Following repair, the equipment undergoes thorough testing to verify its proper functionality within defined acceptance criteria. Additionally, the SMJ Lab meticulously examines the impact of equipment defects on previous testing and ensures adherence to the established procedure for managing non-conforming work.

    - Intermediate Checks:

Defined intermediate check points are established, implemented, and documented (SMJ/FRM/QCD/05) to maintain confidence in equipment calibration status.

    - Update of Calibration and Reference Material Data:

SMJ Lab ensures regular updates and implementation of calibration and reference material data to meet specified requirements.

    - Prevention of Unintended Adjustments:

Proactive measures are taken to prevent unintended adjustments of equipment, safeguarding against the invalidation of test results.

    - Record Keeping:

Comprehensive records pertaining to equipment are retained, including identity, manufacturer details, verification evidence, calibration history, maintenance records, and any incidents of damage or repair.

The records include the following, where applicable:

- The identity of the equipment (name of equipment), including details of software and firmware versions.

- Manufacturer's name, type identification, and serial number or other unique identification.

- Documentation providing evidence of verification that the equipment conforms with specified requirements.

- Current location of the equipment.

- Calibration dates, results of calibrations, adjustments, acceptance criteria, and details regarding the due date of the next calibration or the calibration interval.

- Comprehensive documentation of reference materials, results, acceptance criteria, relevant dates, and the period of validity.

- Maintenance plan and records of maintenance carried out to date, where relevant to the performance of the equipment.

- Detailed accounts of any damage, malfunction, modification, or repair of the equipment.

  - Metrological Traceability:

    - Establishment and Maintenance of Metrological Traceability:

At SMJ Lab, we recognize the fundamental importance of metrological traceability (SMJ/QSP/06) in guaranteeing the accuracy and reliability of our measurement results. To this end, we have implemented a rigorous process to establish and maintain traceability throughout our operations by taking following actions:

- Documented Chain of Calibrations: We have established a documented unbroken chain of calibrations, with each calibration contributing to the measurement uncertainty and linking back to an appropriate reference. This ensures the integrity and reliability of our measurement results.

- Pre-Calibration of Equipment: Before any equipment is put into service for sampling, testing, or subsidiary measurements, we ensure that it undergoes calibration. This proactive approach ensures that our equipment operates within specified tolerances, thereby enhancing the accuracy and validity of our results.

- Program and Procedure for Equipment Calibration: Our laboratory adheres to a comprehensive program and procedure for equipment calibration (SMJ/QSP/04), covering all aspects from selection and use to calibration, checking, controlling, and maintenance of measurement standards and reference standards.

    - Ensuring Traceability to the International System of Units (SI):

At SMJ Lab, we are committed to ensuring that our measurement results are traceable to the International System of Units (SI), the globally recognized standard for units of measurement. To achieve this, we employ various methods of traceability verification as follows.

- Calibration from Accredited Laboratories: We ensure that calibration of our equipment is carried out by ISO/IEC 17025 accredited calibration laboratories. This guarantees that our calibration processes adhere to international standards of competence and traceability.

- Use of Certified Reference Materials: Whenever possible, we utilize certified reference materials provided by ISO 17034 accredited CRM producers or committees. These materials come with stated metrological traceability to the SI, further enhancing the reliability and accuracy of our measurements.

- Direct Realization of SI Units: We ensure direct realization of SI units by comparing our measurements, either directly or indirectly, with national or international standards. This ensures that our measurement results are anchored in the SI system, providing a robust framework for traceability.

    - Metrological Traceability When Not Technically Possible to SI Units:

In instances where achieving metrological traceability to SI units is not technically feasible, SMJ Lab employs the following alternative methods to ensure traceability to appropriate references.

- Utilization of Certified Reference Materials: We make use of certified reference materials provided by competent producers, even when direct SI traceability is not possible. These materials provide a reliable reference point for our measurements, maintaining the integrity and accuracy of our results.

- Reference Measurement Procedures and Consensus Standards: Additionally, we rely on results from reference measurement procedures, specified methods, or consensus standards that are clearly described and accepted within the industry. These procedures and standards are rigorously vetted to ensure that they provide measurement results fit for their intended use and are ensured by suitable comparison.

  - Externally Provided Products and Services:

    - Policy Statement:

SMJ Lab is dedicated to utilizing only appropriate externally provided products and services crucial to laboratory activities, ensuring the integrity of our testing and calibration processes.

- Incorporation into Activities: External products and services, including those for sample testing, undergo meticulous assessment for suitability before integration into our operations.

- Direct Customer Provision: Products and services directly provided to customers by SMJ Lab, sourced externally, undergo rigorous scrutiny to meet our quality standards.

- Supporting Operations: Evaluation of equipment, consumables, and services supporting laboratory operations ensures seamless integration into our processes.

    - Procurement Procedure and Records:

SMJ Lab has established a comprehensive procurement procedure (SMJ/QSP/08), including:

- Requirement Definition: Defining, reviewing, and approving specific requirements for external products and services to align with our quality objectives.

- Provider Evaluation: Establishing criteria for evaluating, selecting, and monitoring external providers to uphold high standards of quality and reliability.

- Conformance Assurance: Ensuring external products and services adhere to SMJ Lab requirements or relevant standards before utilization or customer provision.

- Action Implementation: Promptly addressing any necessary actions from provider evaluations, performance monitoring, and re-evaluations to maintain and enhance quality standards.

    - Communication with External Providers:

SMJ Lab maintains clear communication with external providers to ensure mutual understanding and adherence to quality expectations. This includes:

- Product and Service Specifications: Clearly outlining required products, services, and technical specifications.

- Acceptance Criteria: Communicating criteria for assessing provided products and services.

- Competence Requirements: Specifying necessary competencies and qualifications for personnel providing products and services.

- On-site Activities: Informing external providers of intended activities at their premises for coordination and compliance.

All details related to external products and services are included in purchase orders, approved by the Technical Manager, and sourced exclusively from providers listed in the Approved External Provider list to ensure supply chain consistency and quality.

- PROCESS REQUIREMENTS

  - Review of Requests, Tenders, and Contracts:

    - Review Procedure:

At SMJ Lab, we prioritize the meticulous review of requests, tenders, and contracts to ensure alignment with our commitment to quality and customer satisfaction. Our established procedure (SMJ/QSP/13) guarantees thorough scrutiny, ensuring the following:

- Clear Definition of Requirements: Requirements pertaining to testing are satisfactorily defined, documented, and understood. These specifications are referenced in our Chain of Custody document (SMJ/FRM/COC/01), ensuring clarity and precision.

- Capability Assessment: SMJ Lab conducts a comprehensive evaluation to ascertain our capability and resource adequacy to meet the specified requirements. This includes a thorough assessment of the test methods prescribed, be it in accordance with Indian Standards or International Standards.

- Engagement with External Providers: In instances where tests are to be conducted by external providers, SMJ Lab ensures transparency by informing the customer accordingly. Approval is diligently obtained from the customer via formal communication channels such as letters or emails.

- Selection of Appropriate Test Methods: Suitable test methods are selected that are capable of meeting customers' requirements. which are based on Indian Standards / International Standards.

    - Notification of Method Appropriateness:

SMJ Lab will immediately inform the customer in the event that the requested method is considered inappropriate or outdated.

    - Specification of Conformity:

When a customer requests a statement of conformity to a specification or standard for the test, SMJ Lab ensures utmost clarity. Specifications, standards, and decision rules are explicitly defined within our Chain of Custody document (SMJ/FRM/COC/01). Additionally, any decision rule selected, unless inherently specified, is communicated and mutually agreed upon with the customer.

    - Contract Management:

SMJ Lab places paramount importance on meticulous contract management to uphold our quality standards and customer commitments. Detailed records are maintained of contract acceptance, inclusive of sampling plans and procedures where applicable. Before finalization, any disparities between requirements and capabilities are diligently addressed. Records of reviews, changes, and discussions with customers are meticulously maintained to ensure the integrity of our operations.

    - Communication of Deviations:

In the event of any deviation from the contract, SMJ Lab promptly informs the customer through appropriate channels, ensuring transparency and alignment with customer expectations.

    - Amendments and Collaboration:

Should amendments to the contract arise post-commencement of work, SMJ Lab initiates a thorough review process. Subsequent changes are promptly communicated to customers and all affected personnel, fostering transparency and collaboration.

    - Customer Collaboration:

At SMJ Lab, we value collaboration with our customers, prioritizing clarity and understanding of their requests. While ensuring confidentiality to all parties involved, we actively engage with customers or their representatives, clarifying requirements and monitoring our performance to guarantee utmost satisfaction.

    - Record Keeping:

Comprehensive record-keeping is integral to our quality management practices at SMJ Lab. Records of reviews, contracts, significant changes, and discussions with customers are meticulously maintained, ensuring accountability and transparency throughout our operations.

  - Selection, Verification and Validation of Methods:

    - Selection and Verification of Methods:

      - Appropriate Methods Usage:

SMJ Lab shall utilize suitable methods and procedures for all laboratory activities, including tests and calibrations within its scope. Methods published in recognized standards such as the "Standard Methods for the Examination of Water and Wastewater (23rd Edition)" shall be prioritized. These methods shall be transcribed into Lab Standard Operating Procedures (SOP) to ensure ease of implementation by SMJ Lab personnel.

      - Availability of Reference Materials:

All necessary reference materials required by authorized personnel shall be made readily available. Each personnel member shall be assigned their own copy of procedures for their use. Document control procedures shall ensure that all documents, including methods and procedures, are current and tracked.

      - Method Updates:

Revised methods shall undergo annual updates and shall not be integrated into the SMJ Lab Quality System until they have been reviewed and approved.

      - Appropriateness for Measurement Parameter and Concentration:

All methods employed by SMJ Lab shall be appropriate for the applicable measurement parameters and concentrations. Test methods shall meet the requirements of the client and shall be suitable for the tests undertaken. The latest valid edition of any applicable standard shall be utilized.

      - Verification of Methods:

Methods selected by SMJ Lab shall undergo thorough verification before adoption into use. Standard Operating Procedures (SOP) tailored for SMJ Lab personnel shall be developed for each method. Revised methods shall be re-verified periodically. Additionally, personnel shall undergo an Initial Demonstrations of Capability (DOC) upon successful training for each applicable lab analysis before the commencement of data reporting. Ongoing Demonstrations of Capability (DOC) shall be conducted annually. Furthermore, personnel shall participate in semi-annual proficiency testing for all analytes and methods they are authorized to perform.

      - Deviations from Verified Methods:

Any deviations from verified methods shall be documented and reported by the technician, justified and authorized by the Lab Manager, and accepted by the customer.

      - Non-Development and Non-Usage of Non-Standard Methods:

SMJ Lab shall refrain from method development and the use of non-standard methods. Standard methods shall not be utilized outside their intended scope.

    - Validation of Methods:

SMJ Lab shall validate non-standard methods, laboratory-developed methods, standard methods used outside their intended scope, and any modifications to standard methods to ensure their suitability for the intended use. Validation shall be comprehensive to meet the specific application needs. The validation process shall include recording the results obtained, the procedure used, and a statement confirming the method's fitness for the intended use.

      - Range and Accuracy of Validated Methods:

The range and accuracy of values obtainable from validated methods shall be relevant to the customers' needs and consistent with specified requirements.

      - Impact of Changes to Validated Methods:

Any changes made to validated methods shall be thoroughly assessed for their impact on the original validation. If necessary, a new method validation shall be performed.

      - Record Retention:

SMJ Lab shall retain records of the validation procedure used, specification of the requirements, determination of the performance characteristics of the method, results obtained, and a statement on the validity of the method for its intended use.

      - Retention of Validation Records:

As stated in 7.2.2.3, the laboratory maintains thorough records for method validation, including:

- Documentation of validation procedures.

- Specification of method requirements.

- Determination of method performance characteristics.

- Results of validation tests.

- Statements affirming method validity and suitability for intended use.

By adhering to these procedures and requirements, SMJ Lab ensures the reliability, accuracy, and relevance of its testing and calibration methods, thereby maintaining the quality of its laboratory services.

  - Sampling:

    - Sampling Plan and Procedures:

The laboratory shall establish and maintain a Sampling plan and procedures for sampling substances, materials, or products for subsequent testing or calibration. The sampling plan and procedures shall be readily available at the location where sampling is undertaken (SMJ/SOP/LAB/03). Whenever reasonable, the laboratory shall base its sampling plans on appropriate statistical methods to ensure representative and reliable samples. The sampling process shall systematically address the factors necessary to ensure the validity of the test results.

    - Components of Sampling Method:

- Selection of Samples or Sites: Selection of samples or sites shall be conducted according to the guidelines outlined in (SMJ/SOP/LAB/03).

- Sampling Plan: The Sampling Plan, detailed in section 7.3.1, shall serve as the overarching framework for sampling activities.

- Sample Preparation: Sample preparation procedures shall adhere to the specifications outlined in (SMJ/SOP/LAB/03).

    - Recording Procedures:

The laboratory shall establish procedures for recording relevant data and operations relating to sampling that forms a part of the testing or calibration undertaken. These records shall include, where applicable:

- Reference to the sampling procedure utilized;

- Date and Time of Sampling;

- Data to Identify and Describe the Sample;

- Identification of the Sampler;

- Identification of the Equipment Used;

- Environmental or Transport Conditions;

- Diagrams or Other Means to Identify Sampling Locations;

- Deviations, Additions, or Exclusions from the Sampling Method or Plan.

The laboratory shall ensure that these records are maintained systematically and accurately to facilitate traceability and demonstrate compliance with the established sampling procedures.

  - Handling of Test Items:

    - Managing Test Items:

SMJ Lab is committed to maintaining the integrity of test items throughout their lifecycle. To achieve this, the laboratory has established comprehensive procedures for the receipt, handling, protection, storage, retention, and disposal of test items. These procedures, detailed in the (SMJ/QSP/10), are designed to safeguard the interests of both the laboratory and its customers.

    - Unique Identification and Internal Referencing:

Upon receiving a request for testing, SMJ Lab conducts a thorough review of the sample and accompanying documentation. If the sample meets the laboratory's requirements, it is assigned a unique code or identification number. Simultaneously, an internal worksheet, known as the 'Final Worksheet' is generated with the same unique identifier. Throughout the testing process, the sample is exclusively referenced using this designated number. This meticulous system not only facilitates record-keeping but also ensures customer confidentiality and the integrity of result interpretation.

    - Recording and Consultation:

SMJ Lab maintains detailed records of any abnormalities or deviations encountered upon receipt of test items. In cases where doubts arise regarding the suitability of an item for testing or if it deviates from the provided description, the laboratory initiates a consultation process with the customer before proceeding. A comprehensive record of the discussion is maintained to ensure transparency and accountability.

    - Environmental Conditions Maintenance:

Environmental conditions specified for the storage or conditioning of test items are meticulously maintained, monitored, and recorded by SMJ Lab. Special attention is given to the storage of water and soil samples to preserve their condition and integrity over time.

  - Technical Records:

    - Comprehensive Technical Records:

SMJ Lab places great emphasis on maintaining comprehensive technical records for each test and calibration activity. These records include original observations, derived data, calibration records, staff records, and copies of test reports issued. The information contained in these records enables the identification of factors affecting certainty and facilitates the replication of tests under similar conditions. Each record is meticulously maintained to ensure accuracy and traceability.

    - Error Annotation and Preservation:

As part of its quality management practices, SMJ Lab adopts a systematic approach to annotating errors in records. Any errors are crossed out (without erasure), and the correct value is entered alongside, accompanied by the initials of the responsible personnel. This method ensures the preservation of original data and prevents loss or alteration, particularly in electronically stored records.

  - Evaluation of Measurement Uncertainty:

    - Identification of Uncertainty Sources:

SMJ Lab has undertaken a thorough analysis to identify the sources contributing to measurement uncertainty. This analysis encompasses all significant sources, including those arising from sampling and filling processes. Appropriate methods of analysis are employed to ensure a comprehensive understanding of uncertainty sources.

    - Estimation of Measurement Uncertainty:

To ensure the reliability of test results, SMJ Lab adheres to a well-defined procedure for estimating the uncertainty of measurement for all tests. This procedure, outlined in SMJ/QSP/11, enables the laboratory to provide accurate and reliable measurement uncertainty values for each test conducted.

    - Reasonable Estimation in Method Limitations:

In cases where the nature of the test method precludes a rigorous calculation of measurement uncertainty, SMJ Lab makes reasonable estimations based on its understanding of the method's performance and previous validation data. Care is taken to ensure that the reporting format of results accurately reflects the level of uncertainty associated with each measurement.

  - Ensuring the Validity of Results:

    - Quality Control Procedures:

SMJ Lab implements quality control procedures outlined in (SMJ/QSP/12) to monitor test validity. Data is recorded to detect trends, and statistical techniques are applied when feasible. This monitoring, planned and reviewed, includes:

- Regular use of certified reference materials or quality control material

- Use of alternative calibrated instrumentation providing traceable results

- Functional checks of measuring and testing equipment

- Use of check or working standards with control charts

- Intermediate checks on measuring equipment

- Replicate tests or calibrations

- Resetting or recalibration of retained items

- Correlation of results for different characteristics of an item

- Review of reported results

- Inter-laboratory comparisons

- Testing of blind samples

    - Performance Monitoring:

To assess its performance, SMJ Lab regularly compares its results with those obtained from other laboratories. This monitoring, conducted through participation in proficiency testing and inter-laboratory comparisons, provides valuable insights into the laboratory's performance relative to industry standards. The results of these comparisons are carefully reviewed to identify areas for improvement.

    - Data Analysis and Action:

Data obtained from monitoring activities are subjected to comprehensive analysis by SMJ Lab. Any deviations from predefined criteria are promptly addressed through appropriate corrective actions to prevent the reporting of incorrect results. Predefined criteria for monitoring are established to ensure consistency and accuracy in test results.

  - Reporting of Results:

    - General:

      - Review and Authorization:

The results of each test or series of tests carried out by SMJ Lab shall be reviewed and authorized prior to release.

      - Accuracy and Clarity:

The results shall be provided accurately, clearly, unambiguously and objectively, usually in a report format, such as a test report, calibration certificate, or report of sampling. These reports shall include all the information agreed with the customer and necessary for the interpretation of the results, and all information required by the method used. All issued reports shall be retained as technical records. Reports may be issued as hard copies or by electronic means, provided that the requirements of this document are met.

      - Simplified Reporting:

When agreed with the customer, the results may be reported in a simplified way. Any information listed in 7.8.2 to 7.8.7 that is not reported to the customer shall be readily available.

    - Common Requirements for Reports (Test & Sampling):

      - Comprehensive Reporting:

Each report issued by SMJ Lab shall include, at least, the following information, unless there are valid reasons for not doing so:

- A title (e.g. “Test Report”);

- The name and address of SMJ Lab;

- The location where the tests were carried out, if different from the address of SMJ Lab;

- Unique identification of the report and a clear identification of its end;

- The name and contact information of the customer;

- Identification of the method used;

- A description of, the condition of, and unambiguous identification of the item(s) tested;

- The date of receipt or date of sampling of the test item(s) where this is critical to the validity and application of the results;

- The date(s) of performance of the laboratory activity;

- Dates of issue of the report;

- Reference to the sampling plan and sampling method used if relevant to the validity and application of the results;

- A statement to the effect that the results only relate to the item tested, calibrated, or sampled;

- The results with, where appropriate, the units of measurement;

- Additions to, deviations from, or exclusions from the method;

- Identification of the person(s) authorizing the report;

- Clear identification when the results are from external providers.

      - Responsibility and Clarity:

SMJ Lab shall be responsible for all the information provided in the report, except when information is provided by the customer. Data provided by a customer shall be clearly identified. In addition, a disclaimer shall be included in the report when the information is supplied by the customer and can affect the validity of results. When the laboratory was not involved in the sampling stage, it shall state in the report that the results apply to the sample as received.

    - Specific Requirements for Test Reports:

      - Enhanced Test Reporting:

In addition to the requirements listed in 7.8.2.1, test reports issued by SMJ Lab shall, where necessary for the interpretation of the test results, include the following:

- Information on specific test conditions, such as environmental conditions;

- Where relevant, a statement of conformity with requirements or specifications;

- Where applicable, the measurement uncertainty presented in the same unit as that of the measurand or in a term relative to the measurand, when it is relevant to the validity or application of the test results, a customer's instruction so requires, or the measurement uncertainty affects conformity to a specification limit;

- Where appropriate, opinions and interpretations;

- Additional information that may be required by specific methods, authorities, customers, or groups of customers.

      - Sampling Inclusion:

In addition to the requirements listed in 7.8.3.1, test reports containing the results of sampling issued by SMJ Lab shall meet the requirements listed in 7.8.5 where necessary for the interpretation of test results.

    - Specific Requirements for Calibration Certificates:

As SMJ Lab is not primarily engaged in calibration activities, the requirements given in this clause are not applicable.

    - Specific requirements for Sampling:

In addition to the requirements listed in 7.8.3.1, test reports containing the results of sampling issued by SMJ Lab shall include the following, where necessary for the interpretation of test results:

- The date of sampling;

- Unique identification of the substance, material, or product sampled;

- The location of sampling;

- A reference to the sampling plan and procedures used;

- Details of any environmental conditions during sampling that may affect the interpretation of the test results;

- In formation required for evaluating measurement uncertainty for subsequent testing.

    - Specific requirements for Conformity:

      - Conformity Documentation:

When SMJ Lab provides a statement of conformity to a specification or standard, it shall document the decision rule employed, taking into account the level of risk associated with the decision rule employed, and apply the decision rule. The statement of conformity shall clearly identify to which results it applies, which specifications, standards, or parts thereof are met or not met, and the decision rule applied.

      - Conformity Statement:

SMJ Lab shall report on the statement of conformity such that it clearly identifies to which results the statement applies, which specifications, standards, or parts thereof are met or not met, and the decision rule applied.

    - Reporting Opinions and Interpretations:

      - Authorized Expression:

When opinions and interpretations are expressed, SMJ Lab shall ensure that only authorized personnel release the respective statement. SMJ Lab shall document the basis upon which the opinions and interpretations have been made. Opinions and interpretations shall be clearly identified in the test report.

      - Documentation and Identification:

When opinions and interpretations are included, SMJ Lab shall document the basis upon which the opinions and interpretations have been made. Opinions and interpretations shall be clearly identified in the test report.

      - Dialogue Retention:

When opinions and interpretations are directly communicated by dialogue with the customer, a record of the dialogue shall be retained.

    - Amendments to Reports:

      - Authorized Amendments:

When amendments are made to a test report issued by SMJ Lab, only authorized personnel shall make such amendments. The basis for the amendments shall be documented, and the amendments shall meet all the requirements of this document.

      - Material Amendments:

Material amendments to a test report after issue shall be made only in the form of a further document or data transfer, which includes a clear identification of the amendments made.

      - New Report Issuance:

When it is necessary to issue a completely new test report, it shall be uniquely identified and contain a reference to the original that it replaces.

  - Complaints:

    - Policy and Procedure:

SMJ Lab maintains a documented policy and procedure for the resolution of complaints received from customers and other relevant parties, as per SMJ/QSP/14.

    - Handling Process:

Upon receipt of a complaint, SMJ Lab confirms its relevance to laboratory activities and proceeds with necessary actions. The laboratory maintains a complaint register, documented in SMJ/FRM/MKT/02, for further investigation.

    - Process Elements:

The process for handling complaints encompasses:

- Receiving, validating, investigating the complaint, and deciding on appropriate actions;

- Tracking and recording complaints, including actions undertaken for resolution;

- Ensuring implementation of appropriate actions.

    - Information Verification:

SMJ Lab, upon receiving a complaint, is responsible for gathering and verifying all necessary information to validate the complaint.

    - Communication:

The Quality Manager acknowledges receipt of complaints and provides progress reports and outcomes to the complainant via email.

    - Decision Approval:

Outcomes communicated to the complainant are reviewed and approved by the Quality Manager.

    - Closure Notice:

Whenever feasible, SMJ Lab provides formal notice of the conclusion of complaint handling to the complainant.

  - Nonconforming Work:

    - Policy and Procedures:

SMJ Lab maintains policies and procedures (SMJ/QSP/15) to address nonconforming work. These procedures ensure:

- Clear delineation of responsibilities and authorities for managing nonconforming work;

- Actions taken based on established risk levels, including halting or repeating work and withholding reports as necessary;

- Evaluation of the significance of nonconforming work, with prompt corrective action and decisions on acceptability;

- Notification of customers and recall of reports if necessary;

- Resumption of work only upon instruction from the Quality Manager.

    - Record Keeping:

Records of nonconforming work and actions taken are maintained and retained in the non-conforming work record (SMJ/FRM/OPN/04).

    - Corrective Action:

When evaluation indicates potential recurrence of nonconforming work or doubts about compliance with laboratory policies or management system procedures, corrective actions as per SMJ/QSP/19 are promptly initiated.

  - Control of Data and Information Management:

    - Data Access:

SMJ Lab ensures access to the data and information necessary for laboratory activities.

    - Information Management Systems:

While SMJ Lab does not use laboratory information management systems (LIMS), computers or automated equipment are utilized for data acquisition, processing, recording, reporting, storage, or retrieval. SMJ Lab ensures that user-developed computer software/records are sufficiently documented and validated for use.

    - Record Management:

All records are kept in a manner ensuring they are legible, stored securely, and retained in facilities that prevent damage, deterioration, or loss. Retention periods for records are established. The laboratory has procedures to protect and back up electronically stored records and prevent unauthorized access or alteration, as outlined in (SMJ/QSP/17). These procedures encompass ensuring the integrity and confidentiality of data entry, storage, transmission, and processing. Computers and automated equipment undergo maintenance to ensure proper functioning and are provided with suitable environmental and operational conditions to preserve the integrity of test and calibration data.

    - Quality Records:

SMJ Lab maintains procedure (SMJ/QSP/16) for the identification, collection, storage, and maintenance of quality and technical records, including reports from internal audits, management reviews, and records of corrective and preventive actions.

    - Checks and Verification:

Calculations and data transfers undergo appropriate checks in a systematic manner.

- MANAGEMENT SYSTEM REQUIREMENTS

  - Options:

    - General:

SMJ Lab shall establish, document, implement, and maintain a management system capable of supporting and demonstrating consistent achievement of ISO/IEC 17025 requirements and ensuring the quality of laboratory results. In addition to fulfilling clauses 4 to 7 of ISO/IEC 17025, SMJ Lab shall implement a management system in accordance with Option A.

    - Option A:

As a minimum, the management system of SMJ Lab shall address the following:

  - Management system documentation (see 8.2)

  - Control of management system documents (see 8.3)

  - Control of records (see 8.4)

  - Actions to address risks and opportunities (see 8.5)

  - Improvement (see 8.6)

  - Corrective actions (see 8.7)

  - Internal audits (see 8.8)

  - Management reviews (see 8.9)

    - Option B:

SMJ Lab, having implemented the requirements of Option A, finds the requirements of this clause not applicable.

  - Management System Documentation (Option A):

    - Establishment of Policies and Objectives:

SMJ Lab shall establish, document, and maintain policies and objectives for the fulfilment of ISO/IEC 17025 purposes. These policies and objectives must ensure acknowledgment and implementation at all levels of the laboratory organization.

    - Addressing Competence, Impartiality, and Consistency:

The established policies and objectives shall address the competence, impartiality, and consistent operation of the laboratory. This ensures that all activities within the laboratory are conducted with the necessary expertise, neutrality, and reliability.

    - Commitment to Development and Implementation:

The Laboratory Manager is accountable to the management and is tasked with overseeing the effective execution of the lab's quality system and is responsible for daily operations and significantly influences matters such as employment, assignments, disciplinary measures, and terminations within the lab. SMJ Lab remains dedicated to enhancing and appropriately implementing the entire Quality Management System. Regular reviews of the Quality Management System occur during:

- Management reviews (8.5)

- Annual internal audits (8.6)

- Corrective actions (8.7)

- Monthly preventive actions meetings (8.8)

Documentation of these actions serves as evidence of adherence to and enhancement of the quality system.

    - Inclusion of Documentation, Processes, and Records:

All documentation, processes, systems, and records related to fulfilling ISO/IEC 17025 requirements shall be included in, referenced from, or linked to the management system. This integration ensures that all necessary documentation and records are readily accessible and aligned with the management system.

    - Access to Management System Documentation:

All personnel involved in laboratory activities shall have access to relevant parts of the management system documentation and related information applicable to their responsibilities. This ensures that all staff members have access to the necessary information to perform their roles effectively and in accordance with ISO/IEC 17025 requirements.

  - Control of Management System Documents (Option A):

    - Document Control:

The laboratory has established a procedure to ensure the unique identification of all its documents, specifying the authority responsible for their approval, issuance, maintenance, and control (SMJ/QSP/16).

    - Document Control Procedures:

All documents issued to personnel within the SMJ Lab as part of the management system undergo periodic review by members of the review board and are approved for suitability by authorized staff in accordance with clause 4.1.7 prior to issuance. The lab maintains a master list for the distribution of controlled documents within the management system, which is readily accessible to prevent the use of invalid and/or obsolete documents. The laboratory's adopted procedures ensure that:

- Arrangements are in place to ensure that authorized editions of relevant documents are available at all essential locations.

- Documents issued to laboratory personnel as part of the management system undergo periodic review by review board members, and where necessary, are revised to maintain ongoing suitability and compliance with current requirements.

- Changes and the current revision status of documents are clearly identified.

- Any invalid documents are appropriately marked as obsolete and retained for either legal or knowledge preservation purposes, or for reference.

- Documents generated by the laboratory's management system are uniquely identified, incorporating the date of issue or revision, page numbering, total number of pages, and the issuing authority.

- Invalid or obsolete documents are promptly removed from all points of issue or use, or otherwise safeguarded against unintended use.

  - Control of Records (Option A):

    - Establishment and Retention of Records:

All records are maintained in a legible manner, stored securely, and retained to ensure protection against damage, deterioration, or loss. These records are stored in facilities that offer an appropriate environment to prevent any potential harm and facilitate easy retrieval. Furthermore, retention times for records are established and adhered to in accordance with relevant requirements.

    - Implementation of Record Controls:

SMJ Lab has implemented a procedure (SMJ/QSP/17) for the identification, collection, indexing, access, filing, storage, maintenance, and disposal of both quality and technical records. Quality records encompass reports derived from internal audits, management reviews, as well as records documenting corrective and preventive actions. All records are maintained in a legible manner, securely stored, and retained to ensure protection against damage, deterioration, or loss. These records are housed in facilities that provide a suitable environment to prevent any potential harm and ensure easy retrieval. Additionally, retention times for records are established in accordance with relevant requirements. The confidentiality and security of all records are upheld by the lab, and procedures, as specified in (SMJ/QSP/01), are in place to safeguard electronically stored records, prevent unauthorized access, and ensure backup measures are implemented.

  - Actions To Address Risks And Opportunities (Option A):

    - Risk and Opportunity Consideration:

SMJ Lab shall consider risks and opportunities associated with laboratory activities to:

- Assure the management system achieves intended results;

- Enhance opportunities to achieve the laboratory's purpose and objectives;

- Prevent or reduce undesired impacts and potential failures in laboratory activities;

- Achieve improvement.

    - Planning and Integration:

SMJ Lab routinely identifies risks to impartiality that arise from its activities and relationships, and the activities and relationships of its personnel. Risks are identified and evaluated through the following means:

- Plan actions to address these risks and opportunities;

- How to integrate and implement the actions into its management system; evaluate the effectiveness of these actions.

    - Risk Management and Opportunity Enhancement:

The laboratory undertakes actions to address both risks and opportunities in accordance with the requirements of ISO/IEC 17025. These actions are proportionate to their potential impact on the validity of laboratory results. Risks and opportunities associated with laboratory activities are systematically identified, evaluated, and documented through the Risk Assessment process. To ensure a structured and consistent approach, procedure SMJ/QSP/18 has been established and implemented for conducting risk assessments.

Additionally, a Risk Assessment sheet is prepared as part of this procedure, and it undergoes annual review during the management review meeting to ensure its continued relevance and effectiveness in managing risks and opportunities within the laboratory.

  - Improvement (Option A):

    - Identification and Implementation of Improvement Opportunities

The Lab has a policy aimed at continuously improving the effectiveness of our management system. This entails the regular utilization and review of our quality policy, quality objectives, audit findings, data analysis, corrective and preventive actions, and management reviews, among other factors.

Moreover, we commit to:

- Adopting and implementing ISO 17025:2017 standards.

- Conducting regular training programs.

- Adhering to amendment rules and regulations stipulated by SPCB, CPCB, and MoEF, ensuring regular updates accordingly.

We proactively identify areas for improvement and potential sources of nonconformities, whether technical or related to the management system. Upon identifying improvement opportunities or the need for preventive action, we develop, implement, and monitor action plans to mitigate the likelihood of nonconformities and capitalize on opportunities for enhancement.

    - Customer Feedback for Improvement:

The laboratory adheres to a procedure wherein customer feedback forms are dispatched to clients with the objective of soliciting both positive and negative responses. Subsequently, this feedback is meticulously analysed and utilized to enhance the management system, testing procedures, and overall customer service standards, thereby improving the quality of service provided to our clientele.

  - Corrective Actions (Option A):

    - Management of Nonconformities:

When encountering nonconformities, the following procedures are strictly followed:

- The responsibilities and authorities concerning the management of nonconforming work are clearly outlined in our established procedure. Defined actions are promptly taken upon identification of non-conforming work.

- Continuous evaluation of all nonconforming testing work is conducted to assess its significance.

- Immediate corrective actions are implemented in response to nonconforming work, accompanied by a determination of its acceptability.

- The effectiveness of any corrective actions taken is thoroughly reviewed.

- Risks and opportunities identified during the planning process are updated accordingly.

- Changes to the management system are made as deemed necessary to address identified issues and improve overall effectiveness.

    - Appropriateness of Corrective Actions

When corrective action is necessary, the laboratory diligently identifies potential corrective measures. We carefully select and implement actions deemed most effective in resolving the issue and preventing its recurrence. Corrective actions are taken appropriate to the severity and associated risks of the problem. Furthermore, the laboratory meticulously documents and implements any necessary changes resulting from the investigations into corrective actions.

    - Records Management

The laboratory has established a procedure (SMJ/QSP/17) for the identification, collection, indexing, access, filing, storage, maintenance, and disposal of quality and technical records. These records encompass reports derived from internal audits and management reviews, as well as records documenting corrective and preventive actions.

  - Internal Audits (Option A):

    - Conduct of Internal Audits:

SMJ Lab has established a comprehensive procedure for the execution of internal audits. The Quality Manager holds the responsibility for organizing and conducting internal audits on an annual basis. These audits are systematically carried out within a 12-month period. The projected date for the subsequent internal audit is determined during the ongoing internal audit process. In cases where the management identifies persistent or substandard adherence to the quality management system, they retain the authority to adjust the frequency of internal audits, contingent upon the outcomes of management reviews.

    - Audit Program Management:

In accordance with SMJ/QSP/20, SMJ Lab:

- Develops, implements, and maintains an audit program that considers the importance of laboratory activities, changes affecting the laboratory, and previous audit results, including frequency, methods, responsibilities, planning requirements, and reporting.

- Defines audit criteria and scope for each audit, addressing them in the audit plan/schedule.

- Ensures that audit findings and internal audit non-conformity reports are reported to relevant management.

- Implements appropriate correction and corrective actions promptly, retaining documented information in the form of internal audit non-conformity reports.

- Retains records as evidence of audit program implementation.

  - Management Reviews (Option A):

    - Periodical Management System Review:

In accordance with a pre-determined schedule and procedure, the laboratory’s top management conducts periodical reviews of labs management system and the testing activities to ensure their continuing suitability and effectiveness and also to introduce necessary changes or improvements, if any. (Refer SMJ/QSP/21)

    - Inputs to Management Review:

The inputs for management review (Circulars or MRM Agendas) are clearly specified and documented. They include information related to the following:

- Changes in internal and external issues that are relevant to the laboratory;

- Fulfilment of objectives;

- Suitability of policies and procedures;

- Status of actions from previous management reviews;

- Outcome of recent internal audits

- Corrective actions;

- Assessments by external bodies;

- Changes in the volume and type of the work or in the range of laboratory activities;

- Customer and personnel feedback;

- Complaints;

- Effectiveness of any implemented improvements;

- Adequacy of resources;

- Results of risk identification;

- Outcomes of the assurance of the validity of results; and

- Other relevant factors, such as monitoring activities and training.

    - Outputs from Management Review:

During the Management Review meeting, the Quality Manager records the outputs of the review in terms of decisions and actions related to, at a minimum:

  - the effectiveness of the management system and its processes;

  - improvement of laboratory activities to ensure continued fulfilment of ISO/IEC 17025 requirements;

  - provision of required resources; and

  - any need for changes to the management system.

Detailed Minutes of Meeting (Ref.: SMJ/FRM/SYS/14) are prepared by the Quality Manager, including the review outputs and agreed action plans. The minutes are reviewed and approved by Top Management.

Approved minutes are circulated to all concerned personnel to ensure timely implementation of agreed actions. The Quality Manager monitors the action plan, tracks progress, and ensures that actions are completed within the defined timelines. Records of management reviews and follow-up actions are maintained as evidence of implementation and effectiveness.

ANNEXURE-1

LEGAL IDENTITY

ANNEXURE-2

ORGANIZATION CHART – COMPANY

ANNEXURE-3

ORGANIZATION CHART – LABORATORY

ANNEXURE-4

QUALITY MANAGEMENT SYSTEM PROCEDURES

| Document No. | Quality Procedure |
| --- | --- |
| SMJ/QSP/01 | Procedure for Maintaining impartiality of laboratory activities |
| SMJ/QSP/02 | Procedure for Personnel Selection, Training and Competency Management |
| SMJ/QSP/03 | Procedure for Maintain laboratory environmental condition |
| SMJ/QSP/04 | Procedure for Handling, transport, storage, use and planned maintenance of equipment |
| SMJ/QSP/05 | Procedure for Intermediate checks |
| SMJ/QSP/06 | Procedure for Traceability of Measurements |
| SMJ/QSP/07 | Procedure for Control of Reference Standards, Materials, and Critical Consumables |
| SMJ/QSP/08 | Procedure for Externally provided products and services |
| SMJ/QSP/09 | Procedure for Method verification and validation |
| SMJ/QSP/10 | Procedure for Transportation, Receipt, Handling, Protection, Storage, Retention, and Disposal or Return of Test Items |
| SMJ/QSP/11 | Procedure for Estimation and Expression of Measurement Uncertainty |
| SMJ/QSP/12 | Procedure for Ensuring and monitoring of validity of result |
| SMJ/QSP/13 | Procedure for Review of Requests, Tenders and Contracts. |
| SMJ/QSP/14 | Procedure for Receive, evaluate and make decisions on complaints |
| SMJ/QSP/15 | Procedure for Control of Non-Conforming Work |
| SMJ/QSP/16 | Procedure for Document and data control |
| SMJ/QSP/17 | Procedure for Control of records |
| SMJ/QSP/18 | Procedure for Risk Assessment |
| SMJ/QSP/19 | Procedure for Corrective Action |
| SMJ/QSP/20 | Procedure for Internal Audit |
| SMJ/QSP/21 | Procedure for Management Review |
| SMJ/QSP/22 | Procedure for use of NABL Symbol |

ANNEXURE-5

QUALITY OBJECTIVES

- Maintain a documented, recognized quality system that incorporates adequate review, and audit as well as quality assurance of laboratory data.

- Implementing quality checks to improve accuracy and reliability.

- Participating in Inter-Laboratory comparison to cover the scope in a span of 4 years.

- Maintain rigorous data/ record management procedures that incorporates adequate procedures for the security, recording, calculation, validation, authorisation, transmittal, storage and disposal of all records generated within SMJ Lab.

- Manage the laboratory workload so as to sustain the ability to produce valid and competent results.

- To obtain feedback from customers and taking adequate corrective actions.

- To fulfil the requirements of the standard ISO/IEC 17025:2017

- Continuous Implementing the Improvement of Lab for sampling, Analysis to result submission within maximum 10 days.