# Purpose

To establish guidelines for the proper handling, transport, storage, use, and planned maintenance of equipment at SMJ Lab. This ensures the accuracy, reliability, and integrity of test results while maintaining compliance with ISO 17025:2017 requirements.

# Scope

This procedure applies to all equipment utilized for environmental and coal testing activities within SMJ Lab premises. It encompasses the entire lifecycle of equipment from receipt to disposal.

# Normative References

## ISO/IEC 17025:2017

General requirements for the competence of testing and calibration laboratories.

## Equipment Manuals

Relevant equipment manufacturer's manuals and specifications.

## Regulatory Requirement

Applicable regulatory requirements related to equipment handling and maintenance.

# Definitions

## Equipment:

Any instrument, device, or apparatus used for testing, measurement, or analysis purposes within the laboratory.

## Planned Maintenance:

Scheduled inspection and repair activities aimed at ensuring the proper functioning, accuracy, and reliability of equipment over time.

# Responsibilities

## Quality Manager

Responsible for ensuring the implementation and compliance of this procedure.

## Laboratory Technicians

Responsible for following the guidelines outlined in this procedure during the handling, use, and maintenance of equipment.

## Procurement Officer

Responsible for ensuring that new equipment meets the required specifications and is accompanied by necessary documentation.

# Procedure

## Equipment Handling

### Receiving Equipment

Upon receipt of new equipment, the receiving personnel shall:

- Verify the received equipment against the accompanying purchase order to ensure accuracy.

- Inspect the packaging for any signs of damage during transit.

- Document any discrepancies or damages observed (as per SMJ/FRM/OPN/02) and notify the Quality Manager.

The Quality Manager shall ensure that all necessary documentation, including manuals, calibration certificates, and warranty information, is received and filed appropriately.

### Transportation

- Equipment shall be transported using suitable handling equipment, such as trolleys or carts, to prevent physical damage.

- Fragile or sensitive equipment shall be handled with extra care and may require additional protective measures during transportation.

- Transport routes shall be free from obstacles and hazards to minimize the risk of accidents.

### Identification and Recording

- Each piece of equipment shall be assigned a unique identification number for tracking purposes.

- The identification number, along with equipment details such as model, serial number, and date of receipt, shall be recorded in the equipment inventory database (SMJ/FRM/OPN/01).

- A label containing the identification number shall be affixed to the equipment for easy identification.

## Equipment Storage

### Designated Storage Areas

- Equipment storage areas shall be designated based on factors such as size, weight, and usage frequency.

- Storage areas shall be equipped with suitable shelving, racks, or cabinets to accommodate different types of equipment.

- Adequate space shall be provided between equipment to facilitate inspection, maintenance, and movement.

### Environmental Conditions

- Storage areas shall maintain suitable environmental conditions to preserve the integrity and functionality of the equipment (SMJ/FRM/QCD/06).

- Temperature and humidity levels shall be controlled within specified limits to prevent degradation or damage.

- Ventilation systems shall be installed to minimize the accumulation of dust, moisture, or harmful gases.

### Segregation and Organization

- Equipment shall be segregated based on factors such as usage, application, or compatibility.

- Hazardous or flammable equipment shall be stored in designated areas with appropriate safety measures in place.

- Clear labeling and signage shall be used to identify different storage zones and categories of equipment.

## Equipment Use

### Training and Authorization

- Only trained and authorized personnel shall be allowed to operate laboratory equipment. Training records shall be maintained as per SMJ/FRM/TRG/02 – Training Report and SMJ/FRM/TRG/08 – Employees Competence Report

- Personnel shall undergo comprehensive training on equipment operation, safety procedures, and emergency protocols.

- Authorized users shall be provided with access credentials or keys to equipment as necessary.

### Pre-Use Inspection

- Before each use, operators shall visually inspect the equipment for any signs of damage, wear, or malfunction.

- Checklists or inspection forms may be used to systematically evaluate the condition of critical components and safety features. Intermediate checks shall be recorded as per SMJ/FRM/QCD/05 – Intermediate Check Report Equipment

- Any abnormalities or concerns shall be reported to the Quality Manager or designated supervisor before proceeding with testing or analysis.

### Operational Procedures

- Equipment shall be operated in accordance with documented procedures, including startup, shutdown, calibration, and maintenance steps. Equipment operation shall follow relevant SOPs (e.g., SMJ/SOP/SYS/06 – Weighing Balance; SMJ/SOP/SYS/07 – Oven/Furnace/Humidity Chamber)

- Operators shall follow safety guidelines and wear appropriate personal protective equipment (PPE) when handling hazardous materials or operating high-risk equipment.

- Emergency shutdown procedures shall be clearly communicated and readily accessible in case of equipment malfunction or safety incidents.

## Planned Maintenance

### Maintenance Schedule

- A maintenance schedule shall be established for each piece of equipment based on manufacturer recommendations, regulatory requirements, and historical performance data. Calibration periodicity shall follow SMJ/EXB/SYS/01 – Exhibits for Calibration Periodicity

- The schedule shall include routine maintenance tasks, calibration intervals, and periodic inspections to ensure optimal performance and accuracy.

- Maintenance intervals may vary depending on factors such as equipment usage, environmental conditions, and criticality to testing operations.

### Scheduled Maintenance Activities

Planned maintenance activities shall include:

- Calibration: Performing calibration checks using traceable standards to verify the accuracy of measurement readings. Calibration activities shall comply with SMJ/QSP/06 – Procedure for Traceability of Measurements

- Preventive Maintenance: Conducting routine inspections, cleaning, lubrication, and adjustments to prevent equipment breakdowns.

- Performance Checks: Evaluating equipment performance against specified criteria to identify any deviations or degradation.

- Component Replacement: Replacing worn-out or damaged components, such as seals, filters, or sensors, as part of proactive maintenance measures.

### Documentation and Record-Keeping

- Maintenance activities shall be documented in maintenance logs or electronic records, including dates, tasks performed, and any observations or findings. Maintenance records shall be maintained in SMJ/FRM/OPN/01/XX – Equipment Wise Preventive Maintenance Checkpoints

- Calibration certificates, maintenance reports, and repair records shall be maintained as part of the equipment history file for audit trail purposes.

- Any corrective actions resulting from maintenance activities shall be documented along with follow-up verification steps. Corrective actions shall be recorded as per SMJ/FRM/SYS/04 – Corrective Action Report

## Calibration

Calibration control shall comply with SMJ/QSP/06 – Procedure for Traceability of Measurements.

### Calibration Schedule

- Calibration intervals shall be determined based on equipment specifications, usage frequency, and regulatory requirements.

- Calibration schedules shall be documented and reviewed periodically to ensure compliance with accreditation standards and quality objectives.

### Calibration Procedures

- Calibration procedures shall be established in accordance with recognized standards, manufacturer recommendations, and laboratory best practices.

- Calibration methods, reference standards, and acceptance criteria shall be documented and followed consistently for all calibrated equipment.

- Trained personnel shall perform calibration procedures using calibrated reference standards and traceable measurement tools.

### Calibration Records

- Calibration records shall include details such as calibration dates, standards used, environmental conditions, and calibration results. Calibration certificates shall be retained as per SMJ/QSP/17 – Procedure for Control of Records

- Any adjustments made during calibration shall be documented along with justification and authorization by authorized personnel.

- Calibration certificates or reports shall be issued for each calibrated equipment item, indicating compliance with specified tolerances and traceability to national or international standards.

## Equipment Retirement

### Assessment and Decision-Making

- Equipment reaching the end of its useful life shall be assessed based on factors such as age, condition, technological obsolescence, and cost of repair versus replacement.

- The Quality Manager, in consultation with relevant stakeholders, shall make the decision to retire equipment based on documented criteria and considerations.

### Retirement Process

Retirement procedures shall include:

- Decommissioning: Removing the equipment from service and disconnecting from power sources or utility connections.

- Decontamination: Cleaning and decontaminating equipment surfaces to remove any hazardous or residual materials.

- Disposal or Transfer: Arranging for proper disposal of retired equipment in accordance with environmental regulations or transferring to designated facilities for recycling or repurposing.