# Purpose

To outline the steps for conducting intermediate checks within the laboratory to ensure the accuracy and reliability of the testing processes as per ISO 17025:2017 requirements.

# Scope

This procedure applies to all intermediate checks conducted during environmental and coal testing activities performed at SMJ Lab.

# Normative References

## ISO/IEC 17025:2017

General requirements for the competence of testing and calibration laboratories.

## Various SOPs

Relevant SOPs (Standard Operating Procedures) for specific testing methods.

## Equipment Manuals

Relevant equipment manufacturer's manuals and specifications.

# Definitions

## Intermediate Checks

Periodic assessments conducted to verify the continued accuracy and reliability of testing equipment and procedures.

# Responsibilities

## Quality Manager

The Quality Manager shall ensure compliance with ISO 17025:2017 standards, oversee the implementation of this procedure, and review and approve the results of intermediate checks.

## Laboratory Technicians

Laboratory Technicians shall perform intermediate checks in accordance with this procedure, document all findings accurately and in a timely manner, and report any deviations or issues to the Quality Manager.

# Procedure

## Preparation

### Identify Equipment and Procedures

- Review the laboratory's schedule and calibration plan to determine which equipment and testing procedures require intermediate checks. Calibration periodicity shall refer to SMJ/EXB/SYS/01 – Exhibits for Calibration Periodicity

- Consult relevant SOPs and work instructions to ensure comprehensive coverage of all necessary checks.

### Gather Necessary Materials

- Ensure availability of calibration standards, reference materials, and any tools required for conducting the checks.

- Verify that all materials are traceable to national or international standards and are within their validity period. Reference materials shall be controlled as per SMJ/QSP/07 – Procedure for Control of Reference Standards, Materials, and Critical Consumables.

### Check Testing Environment

- Confirm that the testing environment meets the specified conditions outlined in relevant SOPs, including temperature, humidity, and lighting requirements. Environmental conditions shall comply with SMJ/QSP/03 – Procedure for Maintain Laboratory Environmental Condition.

- Calibrate environmental monitoring equipment if necessary to ensure accuracy of measurements.

## Execution

### Follow Manufacturer's Instructions

- Refer to the manufacturer's instructions provided with each piece of equipment to guide the intermediate check process.

- Adhere to any specific procedures or precautions outlined by the manufacturer to ensure safe and accurate testing.

### Perform Intermediate Checks

- Conduct the intermediate checks according to the predetermined schedule and frequency specified in the laboratory's quality management system.

- Use calibrated measurement instruments and follow established procedures to ensure consistency and accuracy of results.

- Record all measurements, observations, and any deviations encountered during the checks in the designated logbook or electronic database. Intermediate check results shall be recorded in SMJ/FRM/QCD/05 – Intermediate Check Report Equipment

### Adjustments and Calibrations

- If deviations from expected values are detected during the checks, perform any necessary adjustments or calibrations to bring the equipment or procedure back into compliance. Calibration activities shall comply with SMJ/QSP/06 – Procedure for Traceability of Measurements

- Document all adjustments made, including the rationale and the effect on subsequent measurements.

## Documentation

### Record Keeping

- Document all intermediate checks in the laboratory's records system, ensuring that each entry is clear, legible, and accurately reflects the procedures performed and the results obtained. Records shall be maintained as per SMJ/QSP/17 – Procedure for Control of Records

- Include details such as the date and time of the check, equipment or procedure tested, personnel involved, and any corrective actions taken.

### Traceability and Retention:

- Ensure that all documentation is traceable to the equipment or procedure being checked and is retained in accordance with the laboratory's record-keeping procedures.

- Maintain records in a secure location to prevent loss, damage, or unauthorized access.

## Review and Approval

### Data Analysis

- Review the results of intermediate checks to identify any trends, recurring issues, or areas for improvement.

- Compare current measurements with historical data to assess the stability and reliability of the testing equipment and procedures.

### Verification of Compliance

- Verify that all checks were performed in compliance with this procedure and ISO 17025:2017 requirements.

- Ensure that any deviations or non-conformities identified during the checks have been addressed and resolved satisfactorily. Non-conformities shall be handled as per SMJ/QSP/15 – Procedure for Control of Non-Conforming Work

### Approval of Results

- Approve the results of the intermediate checks once satisfied with the accuracy and reliability of the testing equipment and procedures.

- Sign and date the relevant documentation to indicate approval and acceptance of the results.

## Follow-up Actions

### Implement Corrective Actions

- Implement any corrective actions identified during the intermediate checks to address non-conformities or deviations. Corrective actions shall be documented in SMJ/FRM/SYS/04 – Corrective Action Report

- Ensure that corrective actions are documented, implemented effectively, and monitored for their effectiveness over time.

### Schedule Follow-up Checks

- Schedule follow-up checks as necessary to verify the effectiveness of corrective actions and to ensure ongoing compliance with ISO 17025:2017 requirements.

- Adjust the frequency or scope of future checks based on the results of previous assessments and any changes in equipment or procedures.

### Communication and Training

- Communicate any significant findings or changes resulting from the intermediate checks to relevant personnel, including laboratory technicians, quality assurance staff, and management.

- Provide training or refresher sessions as needed to ensure that all personnel are aware of their responsibilities and are competent to perform the required tasks. Training records shall be maintained in SMJ/FRM/TRG/02 – Training Report