# Purpose

To establish a structured approach for the procurement of externally provided products and services, ensuring conformity with ISO 17025:2017 standards and the organization’s quality objectives.

# Scope

This procedure governs the procurement process for externally provided products and services necessary for testing and calibration activities, in compliance with ISO 17025:2017 requirements.

# Normative References

## ISO/IEC 17025:2017

General requirements for the competence of testing and calibration laboratories.

# Definitions

## Externally Provided Products and Services

Products and services obtained from external sources to fulfill laboratory requirements.

## Supplier

Any external entity providing products or services to the laboratory.

## Procurement

The process of acquiring externally provided products and services required for laboratory activities.

# Responsibilities

## Quality Manager

Responsible for overseeing and implementing this procedure to ensure effective procurement practices and adherence to ISO 17025:2017 standards.

# Procedure

## Identification of Procurement Needs

- Regularly review laboratory operations, upcoming projects, and testing schedules to identify potential requirements for externally provided products and services.

- Consult with relevant stakeholders, including laboratory managers, technical staff, and project coordinators, to determine specific procurement needs based on project timelines, resource availability, and testing requirements.

- Document identified procurement needs, including details such as product/service specifications, quantity required, and expected delivery timelines, in the laboratory's procurement request form. Procurement requests shall be documented in SMJ/FRM/PRC/01 – Purchase Requisition Form

## Evaluation

### Evaluation of Subcontracting Laboratories

Assessment Criteria:

- Validate the subcontracting laboratory's proficiency in test services compliant with national/international standards and methods.

- Verify that the subcontracted laboratory maintains a certified quality system accredited to ISO/IEC 17025:2017 requirements.

Assessment Process:

- The Technical Manager (TM) or Deputy Technical Manager (DTM) conducts an independent evaluation of the subcontracting laboratory and prepares an assessment report. Assessment shall be recorded in SMJ/FRM/PRC/02 – Subcontractor Evaluation Report.

- Based on the assessment report, the Director approves the subcontracting laboratory for collaboration.

- The TM/DTM may conduct on-site surveys at the subcontracting laboratory to verify and confirm its capabilities, ensuring adherence to required standards and quality.

- Subcontractors remain on the approved list only if found satisfactory during assessment.

### Evaluation of Potential Suppliers

Assessment Criteria:

- Utilize predetermined assessment criteria, such as quality standards, technical capabilities, delivery performance, and financial stability, to evaluate potential suppliers.

Assessment Process:

- Assign qualified personnel, such as quality assurance specialists or procurement officers, to conduct evaluations of potential suppliers.

- Conduct audits or reviews of potential suppliers' quality management systems, including documentation of quality policies, procedures, and certifications.

- Evaluate suppliers' past performance, including feedback from previous engagements, to assess their reliability and suitability for meeting laboratory requirements.

- Document evaluation findings and recommendations in a supplier evaluation report, highlighting strengths, weaknesses, and any corrective actions required for potential suppliers.

Supplier evaluations shall be recorded in SMJ/FRM/PRC/03 – Supplier Evaluation Form

## Routine Procurement Procedure

- Obtain written approval from relevant stakeholders, such as laboratory managers or project sponsors, for the procurement of externally provided products and services identified in step 6.1.

- Refer to the approved list of suppliers or conduct evaluations for new suppliers based on the process outlined in section 6.2.

- Register the sample for requested tests and prepare a subcontracting test request letter, documenting details in the subcontracting register. Subcontracted work shall be recorded in SMJ/FRM/PRC/04 – Subcontract Register.

- Dispatch the sample and subcontracting test request letter to the approved subcontractor.

- Upon receipt of test results, format them into the laboratory's standard test report, clearly indicating subcontracted tests as "Test subcontracted to [Name of Approved Laboratory]." Reporting of subcontracted results shall comply with SMJ/FRM/RPT/01 – Test Report Format.

- Promptly communicate with the subcontractor to address any delays or queries regarding the request, results, or report.

- Notify the customer if the subcontractor is unable to deliver results within the agreed timeframe.

## Handling Non-Conformances and Supplier Complaints

- Promptly report any non-conforming products or services to the designated quality assurance personnel or procurement officer. Non-conforming products/services shall be handled as per SMJ/QSP/15.

- Initiate corrective actions to address identified non-conformities, including investigation, root cause analysis, and implementation of corrective and preventive measures. Corrective actions shall comply with SMJ/QSP/19

- Communicate non-conformities and corrective actions to the respective supplier, requesting timely resolution and preventive actions to prevent recurrence.

- Monitor supplier performance and responsiveness in addressing non-conformities, providing feedback and support as needed to ensure satisfactory resolution.

- Consider escalating persistent non-conformances or supplier complaints to higher management or relevant authorities for further action, including potential removal of non-compliant suppliers from the approved list.