# Purpose

To establish a systematic approach for identifying, documenting, evaluating, and controlling non-conforming work within SMJ Lab. This procedure ensures that any deviations from established requirements are appropriately addressed to maintain the integrity and reliability of environmental and coal testing results, in compliance with ISO 17025:2017 standards.

# Scope

This procedure applies to for all its non-conforming work and initiating corrective and preventive action for laboratory improvements.

# Normative References

## ISO/IEC 17025:2017

General requirements for the competence of testing and calibration laboratories.

# Definitions

## Non-Conforming Work

Any work that does not meet specified requirements, including deviations from established procedures, standards, customer requirements, or regulatory obligations.

## Corrective Action

Action taken to eliminate the cause of a detected non-conformity or other undesirable situation.

## Preventive Action

Action taken to eliminate the cause of a potential non-conformity or other undesirable situation.

# Responsibilities

## Quality Manager

The Quality Manager has overall responsibility for ensuring the effective implementation of this procedure and for reviewing and approving non-conforming work reports along with the associated corrective actions.

## Management

Management is responsible for providing the necessary resources and support for the implementation of corrective and preventive actions and for ensuring that identified non-conformities are addressed promptly and effectively.

## Laboratory Personnel

Laboratory Personnel are responsible for promptly reporting any identified or suspected non-conforming work to the Quality Manager and for cooperating with investigations and corrective actions related to non-conforming work.

# Procedure

## Identification and Definition of Non-Conforming Work

Any mistake or deviation to laid down policy or procedure or instructions identified by the laboratory or any other quality problem is termed as non-conforming work, as these can cause the failure of the Quality management system itself. Non-conforming work can be identified during verification practices (repeatability and reproducibility programs), instrument calibration, staff observations, checking of consumables, test report verification or during management reviews. This identification follows SMJ/QSP/15 and is recorded in SMJ/FRM/SYS/04.

## Non-Conformance Management Responsibility and Procedure

TM or DTM is responsible for identifying, registering, investigating and taking   corrective action on the non-conforming work. However, any other authorized staff of the laboratory can also record a non-conformance after discussing their observation with TM/QM. QM further follows up on the implementation of corrective actions. The non-conforming record becomes a part of the laboratory’s internal technical review meeting and training plan, where its significance is evaluated (SMJ/FRM/SYS/04).

## Management Decision and Action on Serious Non-Conforming Work

Whenever a non-conforming work is serious and can jeopardize the results or report, QM decides whether to halt the work or recall issued reports. When such decisions are made, they are announced and after correction of the non-conforming work, the resumption of the work is done only after the instruction of the QM.

### Auditing Doubtful Areas

If a nonconforming work item casts doubt on the laboratory’s adherence to its policies and procedures, the relevant areas are audited in accordance with ISO/IEC 17025:2017 Section 7.10.3, and any nonconformities are recorded in SMJ/FRM/SYS/07.

## Improvements:

### Continuous Improvement Policy

The laboratory has a policy of continuously improving its services to ensure the effectiveness of its management system. Continuous improvement is governed by SMJ/QSP/21.

### Review Meetings for Improvement

To verify this, the laboratory has planned review meetings covering status and review of quality policy and objectives, internal non-conforming work, corrective and preventive actions, and suggestions from laboratory & customers (SMJ/FRM/SYS/14). Study and review support the laboratory’s overall development, maintaining confidentiality, competitiveness, impartiality, and reliability of work performed.

### Responsibilities of Quality Manager

The QM is responsible for identifying, implementing and monitoring the actions arising from such meetings related to improvements. (Ref. SMJ/QSP/15).

## Corrective Action:

### Corrective Action Process

Corrective action is the immediate action taken when any non-conforming work or departures from policies & procedures in the management systems or technical operations are identified.

### Verification and Feedback

The Quality Manager reviews the nonconformance against the relevant past records, existing procedure, sources of information if any along with the responsible person. DTM or TM verify the implementation and effectiveness of corrective action.

### Amendment of Test Reports

The Quality Manager is also responsible for the implementation and feed back to the customer where relevant.

### Record Keeping for Corrective Actions

In case corrective actions require the test report to be amended, the same is done, by issuing a new report, mentioning “Amendment/Supplement to the previous Report No. XX, Dated XX.” OR “This report withdraws and replaces previous Report No. XX, Dated XX“ OR similar other statement.

### Preventive Action Definition

Details of the non-conforming work and the corrective actions taken are discussed in the review meetings to decide for possible preventive actions. All corrective actions are recorded in the respective record with identified non-conformance, i.e., internal audit related in the Internal Audit Record file (SMJ/FRM/SYS/07), Complaints Record (SMJ/FRM/MKT/02) & Customer Feedback Record (SMJ/FRM/MKT/01), Proficiency Testing and/or Inter-laboratory Comparison related or from any other area is noted in internal non-conformance record (SMJ/FRM/SYS/07).

## Preventive Action

### Responsibilities for Preventive Action

Preventive action is a pro-active process to identify opportunities for improvement and prevent the recurrence of nonconformance of similar nature. It is the action taken to reduce the likelihood of the occurrence of non-conformities.

### Identification of Improvement Areas

The QM is responsible to identify areas for implementing preventive action. This includes suggestions from staff and customer’s, internal quality checks, management reviews, proficiency testing results, customer feedback, analysis of data, trend/ risk analysis, etc.

### Control Tools for Preventive Actions

Above study serves as control tool for identifying the potential sources of non-conformities and required improvement and preventive measures for implementation.

### Types of Preventive Actions

Preventive actions may be like arranging training for staff or development of new procedure or modification or change in existing procedure of the quality system etc. Such preventive actions decided are implemented and monitored by QM so as to reduce and control the likely hood of the recurrence of non-conforming work and to ensure its affectivity.

### Documentation of Records

All records related to nonconforming work, corrective and preventive actions, etc. are documented by laboratory.